# Assessment Requirements for UEGNSG611 Control LPG storage/processing operations

Release: 1

Assessment Requirements for UEGNSG611 Control LPG storage/processing operations

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant industry standards, guidelines, codes of practice and regulations applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: applying emergency response procedures applying sustainable energy and environmental principles and practices hazard identification and reporting implementing risk control measures selecting and using correct personal protective equipment (PPE) selecting and using relevant equipment in an LPG environment working safely with hazardous materials and equipment communicating with relevant person/s completing relevant reports and documentation controlling storage operations dealing with unplanned events following workplace procedures interpreting relevant drawings, plans and material lists isolating systems obtaining and complying with relevant work permits planning control of LPG storage operations recording relevant information shutting down operations working safely in a liquified petroleum gas (LPG) environment.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

correct use of plant and equipment in an LPG environment, including: transfer equipment, including compressors or pumps transfer methods for pipes and hoses selection, testing and set up processes for transfer equipment making analytical judgements for appropriate adjustments to plant and equipment test equipment and its uses operation, testing and inspecting equipment that includes pressure vessels and associated fitting manufacturer specifications to make adjustments to parts where appropriate how to select appropriate equipment for tasks associated with LPG operating gas analysis equipment operating gas alarm and communication equipment communicating in an LPG environment gaseous fuel storage gas industry drawings, plans and material lists gas industry products, processes and characteristics identifying and reporting problems associated with transfer processes and procedures LPG production process, including: processing, handling and storage operations for LPG how to mix/blend the properties of LPG permit to work systems for an LPG environment properties of LPG properties of static electricity and how to manage it in an LPG environment recording and reporting corrective actions in an LPG environment recording LPG information relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant stakeholders, including: authorised persons, authorities, clients and land owners and tenants relevant WHS/OHS legislated requirements, including: applicable emergency equipment and procedures hazards, risk assessment and control measures environmental and sustainable energy principles and practices relevant workplace documentation relevant workplace policies and procedures site inspections technical drawings for the LPG environment working safely in an LPG environment

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8