# UEGNSG611 Control LPG storage/processing operations

Release: 1

UEGNSG611 Control LPG storage/processing operations

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to control liquefied petroleum gas (LPG) storage/processing operations. It includes planning, monitoring and controlling LPG storage operations and shutting down operations in the event of an emergency. It also includes using relevant resources and equipment, identifying faults and completing relevant reports and documentation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Gaseous Fuel Vessels

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan LPG storage operations | 1.1 | Work schedule/s, drawings, plans, job requirements and material lists are obtained, analysed and site inspection conducted, as required, to determine the preparation work required for planning and coordination |
|  |  | 1.2 | Relevant person/s are consulted and work is prioritised and sequenced for completion within acceptable timeframes and to industry standards in accordance with workplace procedures |
|  |  | 1.3 | Hazards and work health and safety (WHS)/occupational health and safety (OHS) risks are identified and prioritised and risk control measures implemented and monitored |
|  |  | 1.4 | WHS/OHS, environmental and sustainable energy policies and procedures related to the work are obtained to ensure safe systems of work are followed in accordance with workplace procedures |
|  |  | 1.5 | Relevant work permit/s are obtained to coordinate the work in accordance with job/regulatory requirements and workplace procedures |
|  |  | 1.6 | Appropriate equipment, tools and personal protective equipment (PPE) required for the job are identified, scheduled, obtained and checked for correct operation and safety in accordance with workplace procedures |
|  |  | 1.7 | Communication issues with relevant stakeholders are resolved and work coordinated in accordance with work schedule and workplace procedures |
|  |  | 1.8 | Person/s participating in the work, including plant operators and contractors, are briefed and responsibilities coordinated and authorised, as required, in accordance with workplace procedures |
|  |  | 1.9 | Site is prepared to minimise risk and damage to property, commerce and individuals in accordance with the work schedule and workplace procedures |
| 2 | Control storage/processing operations | 2.1 | WHS/OHS risk control measures and policies and procedures are followed in accordance with workplace procedures |
|  |  | 2.2 | Systems isolation is performed in accordance with requirements and workplace procedures |
|  |  | 2.3 | LPG storage/processing operations are initiated ensuring completion in agreed timeframes with a minimum of waste and damage to the surrounding environment or services and using sustainable energy principles |
|  |  | 2.4 | Operation of storage or processing system is monitored to ensure safety and efficiency and system operations communicated to relevant person/s and other work areas in accordance with workplace procedures |
|  |  | 2.5 | LPG storage processing operation controls are adjusted and monitored in accordance with work schedule, job requirements and workplace procedures |
|  |  | 2.6 | Alarm codes and other hazard warnings are correctly recognised and WHS/OHS risks and control measures monitored, actioned and appropriate authorities consulted in accordance with requirements and workplace procedures |
|  |  | 2.7 | Work schedule is monitored and remedial action taken to address any shortfalls encountered in accordance with requirements and/or workplace procedures |
|  |  | 2.8 | Work is coordinated to ensure completion in agreed timeframe and to industry standards with a minimum of waste in accordance with job requirements and workplace procedures |
|  |  | 2.9 | Fault-finding and troubleshooting techniques are applied to problems encountered when controlling LPG storage/processing operations in accordance with workplace procedures |
|  |  | 2.10 | Quality and safety checks of the work are conducted in accordance with job requirements, workplace procedures and community and industry standards |
| 3 | Shut down operations and complete relevant documentation | 3.1 | Work undertaken is checked against work schedule for conformance and anomalies and proposed solutions reported to relevant person/s in accordance with workplace procedures |
|  |  | 3.2 | Accidents and injuries are reported in accordance with requirements and workplace procedures |
|  |  | 3.3 | Emergency shutdown procedures are applied in the event of equipment faults/failure or operational parameters being exceeded |
|  |  | 3.4 | Relevant work permit/s are signed off and system returned to service and communicated to clients in accordance with requirements and workplace procedures |
|  |  | 3.5 | Work completion records, reports, documentation and as installed/modified drawing/s are completed, processed and appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| resources must include at least five (5) of the following: | pumps and compressors valves vessels control and monitoring equipment mixing equipment sampling equipment air equipment |
| unexpected events must include at least three (3) of the following: | gas leaks and fire equipment failure LPG supply levels electricity supply fires |
| monitoring of LPG storage/processing facilities must include at least four (4) of the following: | pressure temperature levels corrosion gas leaks stock levels security |
| equipment faults must include at least 4 of the following: | electrical problems over filled vessel compressor failure pump failure out-of-current inspection status gauge failure hose rupture/leaks instruments out of calibration non-flow of LPG |

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG611B Control LPG storage/processing operations.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8