# Assessment Requirements for UEGNSG617 Monitor and control the transfer of bulk LPG

Release: 1

Assessment Requirements for UEGNSG617 Monitor and control the transfer of bulk LPG

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: working safely with hazardous materials and equipment hazard identification and reporting implementing risk control measures selecting and using correct personal protective equipment (PPE) applying relevant industry standards, guidelines, codes of practice and regulations applying sustainable energy and environmental principles and practices communicating with relevant stakeholders completing work and relevant documentation conducting quality and safety checks conducting site inspections dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment following workplace procedures identifying and reporting anomalies isolating and de-energising systems maintaining a clean work site monitoring and controlling the liquified petroleum gas (LPG) transfer obtaining and complying with relevant work permits planning and preparing for the bulk transfer of LPG using relevant equipment.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

compliance requirements fault-finding and troubleshooting techniques relevant stakeholders, including authorised persons, authorities, clients, tenants and land owners hazardous activities, including lifting, climbing, working in confined spaces and aloft, and use of power tools dangerous goods codes manufacturer specifications relevant legislation, regulations, codes, standards and policies relevant WHS/OHS legislated requirements, including: applicable emergency equipment and procedures hazards, risk assessment and control measures environmental and sustainable energy principles and practices hazard warnings and safety signs manual handling job safety assessments hazardous materials use of spill kits and PPE LPG bulk storage vessels, including: properties of LPG types, construction, size, valves, labelling, and material safety data sheets/safety data sheets (MSDS/SDS) inspection procedures LPG bulk transfer, including: requirements, applications, methods and procedures equipment/tools types compressors, pumps, pipes and hoses gas alarm and communication equipment ignition prevention/control leak testing requirements oral and written communication techniques problem-solving techniques quality and safety checks relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant work permits relevant workplace documentation, forms and reports relevant workplace policies and procedures site inspections workplace quality requirements and specifications.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8