# Assessment Requirements for UEGNSG619 Perform scheduled maintenance on gas processing or storage facilities and equipment

Release: 1

Assessment Requirements for UEGNSG619 Perform scheduled maintenance on gas processing or storage facilities and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant industry standards, guidelines, codes of practice and regulations applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: hazard identification and reporting implementing risk control measures selecting and using correct personal protective equipment (PPE) work safely with hazardous materials and equipment adjusting calibration and testing equipment applying problem solving techniques applying sustainable energy and environmental principles and practices communicating with relevant stakeholders completing scheduled maintenance and relevant documentation conducting briefings dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment following manufacturer specifications following work orders/work schedules identifying required repairs/maintenance isolating, purging, depressurising, tagging and locking out facilities and equipment obtaining and complying with relevant work permits obtaining relevant tools, testing and measuring instruments, drawings, plans and materials performing scheduled maintenance and repairs positioning road signs, barriers and warning devices preparing for maintenance and repair activities rehabilitating work site returning equipment to service.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

relevant industry standards, guidelines, codes of practice and regulations relevant WHS/OHS legislated requirements, including: hazards, risk assessment and control measures environmental and sustainable energy principles and practices safety signs, including workplace hazards and warnings work permits, Job hazard analysis (JHA), job safety analysis (JSA), job safety environment analysis (JSEA) and safe work method statements (SWMS) use of spill kits and PPE manual handling characteristics, types and techniques accidents and emergency types, including fire, and gas leaks emergency response equipment and procedures work orders and work schedules relevant work permits liquified petroleum gas (LPG) bulk transfer equipment, including: requirements, applications, methods and procedures equipment/tools types, selection, manufacturer specifications/instructions, testing, set up and adjustment compressors and pumps pipes and hoses LPG processing or storage facility and equipment maintenance relevant workplace policies and procedures LPG storage/pressure vessels, including: types, construction, size, valves and labelling testing and inspection procedures LPG processing equipment requirements, applications, methods and procedures including: mix/blend properties and specifications equipment/tools types, selection, manufacturer specifications/instructions, testing and set up analytical judgements for appropriate adjustments to plant and equipment variations and irregularities identification gas analysis equipment safety gas alarm and communication equipment ignition prevention/control leak testing requirements, types, procedures and required equipment/tools PPE types, application, checking, maintenance and storage scheduled maintenance fault identification repair and replacement of components and parts organisation’s policies, quality requirements, specifications, forms and reports for work activities hazardous activities, including: lifting, climbing, working in confined spaces or aloft, and use of power tools inspecting and testing procedures problem-solving techniques relevant industry standards, guidelines, codes of practice and regulations relevant manufacturer specifications relevant SWMS/job safety assessments or risk mitigation processes relevant technical drawings, plans, material lists or specifications relevant workplace documentation traffic management plan

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8