# UEGNSG620 Organise the repair of faults in LPG processing or storage facilities and equipment

Release: 1

UEGNSG620 Organise the repair of faults in LPG processing or storage facilities and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to organise the repair of faults that occur during the processing and/or storing of liquefied petroleum gas (LPG) in accordance with relevant legislation, codes of practice, regulations, standards and workplace procedures. It includes identifying types of faults, liaising with appropriate person/s to authorise and conduct repairs and providing/completing relevant documentation. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable

# Competency Field

Gaseous Fuels Vessels

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan to organise repairs in LPG processing/storage facilities and equipment | 1.1 | Appropriate person/s are consulted to ensure the work is coordinated effectively with others involved |
|  |  | 1.2 | Job requirements and workplace procedures for the work are obtained for all work sites and communicated to relevant person/s |
|  |  | 1.3 | Work health and safety (WHS)/occupational health and safety (OHS), environmental and sustainable energy policies and procedures for repairing faults in LPG processing/storage facilities and equipment are obtained and communicated to relevant person/s |
|  |  | 1.4 | Work is prioritised and sequenced for completion within acceptable timeframes following consultation with others in accordance with workplace procedures |
|  |  | 1.5 | Hazards and WHS/OHS risk are identified and prioritised and control measures implemented and monitored |
|  |  | 1.6 | Relevant work permits are obtained to access, isolate/de-energise systems and perform work in accordance with regulatory requirements and workplace procedures |
|  |  | 1.7 | Appropriately licensed person/s, equipment, tools and personal protective equipment (PPE) required for the job are identified, scheduled, obtained and checked for correct operation in accordance with workplace procedures |
|  |  | 1.8 | Communication issues with authorised persons, authorities, clients and land owners are resolved and work coordinated in accordance with work schedule and workplace procedures |
|  |  | 1.9 | Site is prepared to minimise risk and damage to property, commerce and individuals in accordance with work schedule and workplace procedures |
|  |  | 1.10 | Person/s participating in the work, including plant operators and contractors, are briefed and responsibilities coordinated in accordance with workplace procedures |
| 2 | Organise and monitor repair of faults in LPG processing/storage facilities and equipment | 2.1 | WHS/OHS risk control measures and policies and procedures are followed in accordance with workplace procedures |
|  |  | 2.2 | Hazardous activities are performed safely and currency maintained as required in accordance with regulatory requirements and workplace procedures |
|  |  | 2.3 | Fault repairs are organised to ensure completion in agreed timeframes and to quality/safety/environmental standards in accordance with job requirements and workplace procedures |
|  |  | 2.4 | Repair work and replacement of faulty work equipment is conducted in accordance with permit to work requirements and monitored to ensure activities are carried out with minimal impact on existing operations and environment |
|  |  | 2.5 | Hazard warnings and safety signs are recognised, hazards and WHS/OHS risks assessed and reported to authorised person/s for directions in accordance with workplace procedures |
|  |  | 2.6 | Unplanned events encountered when organising fault repairs are identified and actioned in accordance with workplace procedures |
|  |  | 2.7 | Quality and safety checks of the repairs are undertaken in accordance with workplace procedures |
| 3 | Complete work and relevant documentation | 3.1 | Systems are monitored or operated to ensure they are operating safely and effectively in accordance with workplace procedures |
|  |  | 3.2 | Accidents and injuries are reported in accordance with workplace procedures |
|  |  | 3.3 | Work site is rehabilitated, cleaned up and made safe in accordance with job instructions and workplace procedures |
|  |  | 3.4 | Tools, equipment and any surplus resources and materials are cleaned, checked and returned to storage in accordance with workplace procedures |
|  |  | 3.5 | Relevant work permit/s are signed off and equipment/facility is returned to service in accordance with job requirements and workplace procedures |
|  |  | 3.6 | Repaired/installed equipment is brought back on line in accordance with workplace procedures |
|  |  | 3.7 | Work completion records, reports and as installed/modified drawings and documentation are completed, processed and appropriate person/s notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| operation of equipment must include at least seven (7) of the following: | gas detectors purging gas hand tools LPG hoses flare valves compressors vessels pumps road tankers |
| control and instrumentation equipment faults must include at least seven (7) of the following: | gas leak electrical problems over filled vessel compressor failure pump failure out-of-current inspection status gauge failure hose rupture/leaks instruments out of calibration non-flow of LPG cylinder scales out of calibration meter out of calibration |

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG620A Organise the repair of faults in LPG processing or storage facilities and equipment.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8

Assessment Requirements for UEGNSG620 Organise the repair of faults in LPG processing or storage facilities and equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: working safely with hazardous materials and equipment hazard identification and reporting implementing risk control measures selecting and using correct personal protective equipment (PPE) applying planning skills applying relevant industry standards, guidelines, codes of practice, legislation and regulations applying sustainable energy and environmental principles and practices communicating effectively in the workplace completing work and relevant documentation, including: item maintenance records obtaining and complying with relevant work permits job card documentation to inform relevant authorities, company person/s or manufacturer conducting briefings conducting quality and safety checks confirming currency dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment following workplace procedures monitoring and activating systems organising repair and replacement of components and parts planning to organise repairs in liquified petroleum gas (LPG) processing/storage facilities and equipment WHS/OHS, environmental and associated documentation.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

hazardous activities, including: lifting, climbing, working in confined spaces or aloft, and use of power tools applying relevant industry standards, guidelines, codes of practice, legislation and regulations relevant WHS/ OHS requirements, including: emergency response equipment and procedures hazard identification and reporting risk control measures safety signs, including workplace hazards and warnings spill kits and PPE hazardous materials and equipment LPG processing/storage facilities, including: requirements, specifications and plant operation variations and irregularities identification safety gas alarm and communication equipment ignition prevention/control leak testing requirements types of accidents and emergencies scheduled maintenance requirements fault identification repair and replacement of components and parts reporting requirements manual and emergency shutdown procedures quality requirements and specifications forms and reports for work activities relevant manufacturer specifications relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant WHS/OHS legislated requirements relevant workplace documentation relevant workplace policies and procedures fault-finding and troubleshooting techniques problem-solving techniques repair and maintenance requirements.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8