# Assessment Requirements for UEGNSG621 Control bulk storage of LPG

Release: 1

Assessment Requirements for UEGNSG621 Control bulk storage of LPG

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant industry standards, guidelines, codes of practice, legislation and regulations applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: working safely with hazardous materials and equipment hazard identification and reporting implementing risk control measures selecting and using correct personal protective equipment (PPE) communicating with relevant person/s completing work and relevant documentation controlling storage of liquified petroleum gas (LPG) dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment following procedures for emergency response, including: gas leaks and fire equipment failure hazards and incidents following workplace procedures identifying and reporting anomalies identifying required repairs and maintenance obtaining and complying with relevant work permits planning for the storage of LPG.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

accident and emergency procedures and equipment fault-finding and troubleshooting techniques hazardous activities, including: lifting, climbing, working in confined spaces and aloft, and use of power tools LPG storage/pressure vessels LPG storage facility operations, including: manufacturer specifications and standard adjustments to LPG equipment identifying variations and irregularities making analytical judgments for appropriate adjustments to plant and equipment monitoring, and reporting requirements safety oral and written communication techniques problem-solving techniques relevant industry standards, guidelines, codes of practice and regulations relevant manufacturer specifications relevant WHS/OHS legislated requirements, including: hazards, risk assessment and control measures environmental and sustainable energy principles and practices hazard warnings and safety signs hazardous materials use of spill kits and PPE safe manual handling techniques responding to emergency and accident situations emergency response equipment and procedures first aid requirements for gas industry supervisors relevant work permits relevant work permits relevant workplace policies and procedures relevant workplace reporting requirements and documentation repair and maintenance requirements.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8