# UEGNSG622 Assess the operational capability of gas safety equipment on a delivery vehicle

Release: 1

UEGNSG622 Assess the operational capability of gas safety equipment on a delivery vehicle

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to assess the gas and safety equipment on a delivery vehicle for the distribution of gaseous fuel in accordance with relevant legislation, codes of practice, regulations and workplace procedures. It includes assessing gas and safety equipment on delivery vehicles by identifying faults, using workplace operating procedures, liaising with appropriate persons, and conducting inspections and tests. This unit applies to work sites where the bulk distribution of liquefied petroleum gas (LPG) occurs using delivery vehicles, and subject to work health and safety (WHS)/occupational health and safety (OHS) and duty of care requirements being met for the workplace. This unit is intended as an entry level unit, for new entrants in the gas industry. It is suitable for employment-based programs. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Gaseous fuel Vessels

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to assess gas safety equipment on delivery vehicles | 1.1 | Work instructions are obtained and confirmed in accordance with workplace procedures |
|  |  | 1.2 | Relevant assessment requirements and workplace procedures for the safety assessment are discussed with persons to determine and confirm the work schedule |
|  |  | 1.3 | WHS/OHS, environmental and sustainable energy workplace policies and procedures for the safety assessment are obtained received and confirmed |
|  |  | 1.4 | Suggestions to assist with assessing the operational capability of gas safety equipment on delivery vehicles are made to persons involved in the work |
|  |  | 1.5 | Delivery vehicle hazards are identified, WHS/OHS risks assessed and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.6 | Resources, equipment and tools are visually inspected and personal protective equipment (PPE) required for the job are obtained and in working order in accordance with workplace procedures |
|  |  | 1.7 | Components of the delivery vehicle and associated safety equipment are checked and the relevant responsibilities associated with related work safety procedures at the work site are identified and confirmed in accordance with workplace requirements and procedures |
| 2 | Assess gas safety equipment on delivery vehicle | 2.1 | WHS/OHS policies and workplace procedures and safe work practices are followed to eliminate or minimise incidents and hazards |
|  |  | 2.2 | Lifting, climbing, working aloft and use of tools, techniques and safe work practices are safely followed in accordance with given instructions and workplace requirements to eliminate the prospects of incidents |
|  |  | 2.3 | Assessing operational capability of gas safety equipment on delivery vehicles is undertaken in the agreed timeframe and to industry quality, safety and environmental standards in accordance with workplace requirements and procedures |
|  |  | 2.4 | Delivery vehicle inspection procedures are carried out in accordance with manufacturer specifications and work schedule for a quality outcome and to minimise risk and damage to property, commerce and individuals in accordance with workplace procedures |
|  |  | 2.5 | Hazard warnings and safety signs are recognised and hazards are assessed WHS/OHS risks are reported to the authorised persons for directions in accordance with workplace procedures |
|  |  | 2.6 | Unplanned events are referred to the immediate authorised persons for directions in accordance with workplace procedures |
|  |  | 2.7 | Problems associated with the assessing of the operational capability of gas safety equipment on delivery vehicles are dealt with using acquired known solutions and skills related to routine procedures to ensure work instructions and workplace procedures |
|  |  | 2.8 | Records are maintained and ongoing checks of quality of the work are undertaken in accordance with given instructions and workplace procedures |
| 3 | Complete work and relevant documentation | 3.1 | Work undertaken is checked against work schedule and anomalies reported to authorised persons in accordance with workplace procedures |
|  |  | 3.2 | Accidents and incidents are reported in accordance with job requirements and workplace procedures |
|  |  | 3.3 | Work site is cleaned up and made safe in accordance with given instructions and workplace procedures |
|  |  | 3.4 | Tools, equipment and any surplus resources and materials are cleaned, checked and returned to storage, as required in accordance with workplace procedures |
|  |  | 3.5 | Results of inspection and testing are accurately recorded and appropriate persons notified of assessment work completion in accordance with workplace procedures |
|  |  | 3.6 | Clear reference is made of gas safety equipment item which may affect future operational outcomes and work completion records, report forms and data sheets are accurately completed in accordance with given instructions and workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| constants and variables must include the following: | appropriate persons delivery vehicles faults gas safety equipment inspection and testing workplace operating procedures workplace procedures workplace requirements |
| equipment must include at least six (6) of the following: | earthing straps emergency equipment gauges hoses and connections including hose protection systems hydraulic equipment meters pipes pneumatic/electronic control equipment pump and drive shaft seals and gaskets tanks, valves and fittings |
| equipment faults must include at least four (4) of the following: | damaged hoses electric control cable damage gas/air leaks oil leaks valves not operating water leaks |
| work practices must include the following: | apply basic planning skills apply safe manual handling techniques communicate effectively in the workplace identify and report faults maintain a safe and clean workplace operate equipment within its limitations respond to emergency situations work safely with hazardous materials and equipment work utilising relevant procedures |

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG622A Assess the operational capability of gas safety equipment on a delivery vehicle.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8

Assessment Requirements for UEGNSG622 Assess the operational capability of gas safety equipment on a delivery vehicle

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and include:

applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including using of risk control measures applying sustainable energy principles and practices assessing and identifying faults of gas and safety equipment on delivery vehicles completing work and relevant documentation dealing effectively with unplanned events in accordance with workplace procedures in a manner that minimises risk to personnel and equipment preparing to assess gas and safety equipment on delivery vehicles reading and applying safety data sheets (SDS)/material safety data sheets (MSDS) requirements using safe working practices when assessing the operational capability of gas safety equipment on delivery vehicles in accordance with relevant legislation, codes of practice, regulations and workplace procedures.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements, performance criteria and range of conditions and include knowledge of:

emergency response management plan, including: accidents and emergency types emergency response equipment and procedures breathing apparatus gas detectors/oxygen monitoring devices compliance requirements emergency shutdown, fire protection and security requirements equipment/tools, including: types, selection, manufacturer specifications/instructions, testing, set up and adjustment compressors, pumps pipes and hoses gas alarm and communication equipment gaseous fuel bulk tankers, including: requirements types, construction, size, valves, labelling and SDS/MSDS testing and inspection workplace procedures ignition prevention/control measures leak testing requirements, types, procedures and required equipment/tools manual handling techniques monitoring, testing, inspection and reporting workplace procedures and requirements operational capability of delivery vehicles personal protection equipment (PPE) types, application, checking, maintenance and storage relevant legislation, industry standards, codes of practice, regulations and workplace procedures relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes includes work permits and use of spill kits relevant safety equipment manufacturer specifications and standard adjustments to equipment relevant WHS/OHS legislated requirements relevant workplace documentation, forms and reports relevant workplace policies, quality requirements, specifications and procedures for work activities safe working practices for assessing the operational capability of gas safety equipment on delivery vehicles tanker gaseous fuel transfer systems, including requirements, applications, methods and procedures.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry resources used should reflect current industry practices in assessing operational capability of gas safety equipment on a delivery vehicle applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8