# Assessment Requirements for UEGNSG702 Disconnect and reconnect small capacity gas meters

Release: 1

Assessment Requirements for UEGNSG702 Disconnect and reconnect small capacity gas meters

# Modification History

Release 1. This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions and include:

applying problem-solving techniques applying relevant industry standards, guidelines, codes of practice and regulations applying relevant work health and safety (WHS)/occupational health and safety (OHS) requirements, including: communicating effectively with relevant personnel and customers completing work and relevant documentation coordinating appliance relight dealing with unplanned events/situations in accordance with workplace procedures in a manner that minimises risk to personnel and equipment disconnecting, replacing and reconnecting gas meter following manufacturer instructions following work schedule, safety plan and job requirements following workplace policies and procedures hazard identification and reporting implementing risk control measures maintaining a clean and safe work site performing quality, safety and final checks recognising hazard warnings and safety signs referring issues selecting and using relevant personal protective equipment (PPE) storing and transporting requirements for gas meters and associated equipment testing meter components for gas tightness undertaking stray current testing and protection using tools and equipment to disconnect, reconnect and replace gas meter.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

communication skills to liaise with internal and external person/s customer piping systems and meter components gas meter installation requirements gas meter storage and transporting requirements gas tightness testing problem-solving techniques quality, safety and final check procedures relevant legislation, industry standards, guidelines, codes of practice and regulations relevant manufacturer instructions relevant permits required relevant safe work method statements (SWMS)/job safety assessments or risk mitigation processes relevant tools, equipment and devices relevant WHS/OHS policies and procedures, including: hazard identification risk assessment and control measures hazard warnings and safety signs environmental and safety hazards relevant PPE safety requirements for entering domestic and commercial customer sites relevant workplace policies and procedures site and data issues site preparation, work schedules, safety plans and job requirements small capacity gas meter disconnection, reconnection and replacement stray current testing and protection workplace forms and reports.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and PPE currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8