# UEGNSG807 Install gas flow, measuring and pressure regulating devices

Release: 1

UEGNSG807 Install gas flow, measuring and pressure regulating devices

# Modification History

Release 1: This is the first release of this unit of competency in the UEG Gas Industry Training Package.

# Application

This unit involves the skills and knowledge required to install gas flow, measuring and pressure regulating devices in accordance with relevant legislation, codes of practice, regulations and workplace procedures. It includes installing of gas valves, pressure controllers, regulators and meters in gas facilities and stations. This unit applies to the following types of gas stations, subject to all work health and safety (WHS)/occupational health and safety (OHS) and duty of care requirements being met for the workplace: pressure reduction stations, district and customer regulator sets compressor stations meter stations and customer meter sets custody transfer stations inlets and city gates scraper stations gas storage facilities main line valves. The skills and knowledge described in this unit require a licence or permit to practice in the workplace where work is carried out on electrical installations which are designed to operate at voltages greater than 50 V a.c. or 120 V d.c. Competency development activities in this unit are subject to regulations directly related to licencing. Additional and/or other conditions may apply in some jurisdictions subject to regulations related to electrical work. Practice in the workplace and during training is also subject to WHS/ OHS regulations.

# Pre-requisite Unit

UEGNSG006 Use a portable gas detector to locate escape

# Competency Field

Pressure Control Discipline

# Unit Sector

Gas Industry

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare to install gas flow, measuring and pressure regulating device | 1.1 | WHS/OHS and environmental control measures for the site are identified, obtained and applied |
|  |  | 1.2 | Work requirements are interpreted from plans, specifications and instructions |
|  |  | 1.3 | Relevant job requirements and workplace procedures for work activities are discussed with relevant person/s to determined and confirm work schedule and respective responsibilities |
|  |  | 1.4 | WHS/OHS, environmental and sustainable energy workplace policies and procedures are determined and confirmed |
|  |  | 1.5 | Hazards are identified, WHS/OHS risks are assessed and control measures are prioritised, implemented and monitored in accordance with workplace procedures |
|  |  | 1.6 | Scope of responsibility under the relevant work permits and/or relevant notification is determined and confirmed to access, isolate/de-energise systems and perform work in accordance with job requirements and workplace procedures |
|  |  | 1.7 | Equipment, tools and personal protective equipment (PPE) needed to carry out work activities are identified, scheduled, obtained and checked for correct operation and safety |
|  |  | 1.8 | Appropriate persons are consulted to ensure work activity is coordinated effectively with person/s involved |
|  |  | 1.9 | Materials, plans, diagrams, drawings and resources required for work are confirmed and obtained in accordance with workplace procedures |
|  |  | 1.10 | Relevant responsibilities associated with first aid and related workplace safety procedures at the work site are identified, checked and confirmed |
|  |  | 1.11 | Third-party issues are referred to appropriate person/s in accordance with workplace procedures |
|  |  | 1.12 | Site preparation, safety plan and work schedule are confirmed in accordance with workplace procedures |
| 2 | Install gas flow, measuring and pressure regulating device | 2.1 | WHS/OHS risk control measures, schedule of work and workplace procedures for carrying out work are followed |
|  |  | 2.2 | Appropriate materials, tools, equipment and measuring devices are selected and used and safely in accordance with workplace procedures |
|  |  | 2.3 | Hazardous activities are conducted safely in accordance with given safe work instructions and to job requirements |
|  |  | 2.4 | Work is carried out efficiently, to required industry standard, without waste of materials or damage to apparatus, circuits, and the surrounding environment or services using sustainable energy principles |
|  |  | 2.5 | Hazard warnings and safety signs are identified and assessed as part of WHS risks and incident control measures and are reported to authorised person/s for directions in accordance with workplace procedures |
|  |  | 2.6 | Installation of components is conducted in accordance with work schedule and workplace procedures |
|  |  | 2.7 | Gas flow regulator, filters and meter components system are purged, pressurised and checked for soundness in accordance with workplace procedures |
|  |  | 2.8 | Non-routine/unplanned events are referred to the immediate authorised person/s for directions in accordance with workplace procedures |
|  |  | 2.9 | Routine work activity quality checks are carried out in accordance with workplace instructions |
| 3 | Complete work and relevant documentation | 3.1 | WHS/OHS risk control, work completion measures and workplace procedures are followed |
|  |  | 3.2 | Work site is tidied and made safe in accordance with workplace procedures |
|  |  | 3.3 | Tools, equipment and surplus resources and materials are cleaned, checked and securely stored |
|  |  | 3.4 | Appropriate person/s are notified of work completion in accordance with workplace procedures |
|  |  | 3.5 | Work completion documentation is completed accurately and provided to appropriate persons in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEG Gas Industry Training Package Companion Volume Implementation Guide. |  |
| --- | --- |
| work must be conducted in at least three (3) of the following types of gas facilities/stations: | district and customer metering and regulator sets distribution line and path valves pressure reduction stations, district and customer regulator sets compressor stations meter stations and customer meter sets custody transfer stations inlets and city gates scraper stations gas storage facilities non-supervisory control and data acquisition (SCADA) main line valves |
| equipment must include the following: | valves: manual, ball, plug, double black and bleed pressure controllers actuators at least two (2) types of regulators: diaphragm, sleeve and hydraulic plug at least two (2) types of meters: small capacity union connected positive displacement meters, diaphragm, rotary and turbine Note: fault finding is limited to the component level. |
| constants and variables must include the following: | monitoring, adjusting and controlling regulation of flow and pressure gas measurement recording and reporting regulation of the system equipment organisational and statutory requirements |
| third-party issues referred to appropriate person/s must include the following: | low voltage electrical work |

# Unit Mapping Information

This unit replaces and is equivalent to UEGNSG807A Install Gas Flow, Measuring and Pressure Regulating Devices.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6a6c032e-ffcb-4f3d-8063-415efbd261e8