# UEGNSG350A First response to a gas facility event

Release 1

UEGNSG350A First response to a gas facility event

# Modification History

This unit replaces UEG11 unit UEGNSG312B First response to a facility event

# Unit Descriptor

| Unit Descriptor | 1) Scope: |
| --- | --- |
|  | 1.1) Descriptor |
|  | This unit covers the first response to an unplanned gas facility event, assessing the situation and taking appropriate action as directed in accordance with relevant legislation, code, regulations and established procedures. It encompasses r managing the site response with the following priorities: protect human life, reduce trauma, maintain systems safety, ensure system supply, protect the environment and protect property. The unit is applied against the procedures found under the latest edition of Australian and New Zealand Standard AS 2885.3. Facilities could include metering, compressors, valves, regulators, heaters, scraper, telemetry and odourisation. |

# Application of the Unit

| Application of the Unit | 2) |
| --- | --- |
|  | This competency standard shall apply to gas facilities, subject to all Workplace Health and Safety (WHS) /Occupational Health and Safety (OHS) and duty of care requirements being met for the workplace. This unit is intended as an AQF 3 competency for new and existing workers in the gas industry. It is suitable for employment-based programs under an approved contract of training. |

# Licensing/Regulatory Information

| License to practice | 3) |
| --- | --- |
|  | During Training: Competency development activities are subject to regulations directly related to licensing, workplace health and safety/occupational health and safety and where applicable contracts of training such as apprenticeships. In the workplace: The application of the skills and knowledge described in this unit require a license to practice in the workplace where work is carried out on electrical equipment or installations which are designed to operate at voltages greater than 50 V a.c. or 120 V d.c. The skills and knowledge described in this unit are subject to licence regulation directly related to Workplace/Occupational Health and Safety, gas/ industry safety and compliance, industrial relations, environmental protection, telecommunications, anti- discrimination and training. Note: Other conditions may apply under State and Territory legislative and regulatory requirements, for example: Compliance with permits may be required in various jurisdictions and typically relates to the operation of plant, machinery and equipment such as elevating work platforms, powder operated fixing tools, power operated tools, vehicles, road signage and traffic control, lifting equipment. Permits may also be required for some work environments such as hazardous areas, confined spaces, working aloft, near live electrical devices, site rehabilitation. Compliance may be required in various jurisdictions relating to currency in First Aid, hazardous areas, confined space, lifting and risk safety measures Commonwealth, State/Territory or Local Government legislation and regulations may exist that limits the age of persons who can operate certain equipment. |

# Pre-Requisites

| Prerequisite Unit(s) | 4) |  |
| --- | --- | --- |
| Competencies | 4.1) |  |
|  | Granting of competency in this unit shall be made only after competency in the following unit(s) has/have been confirmed: |  |
|  | UEGNSG005A | Prepare to work in the gas industry |
|  | UEGNSG132A | Carry out basic work activities in a gas industry work environment |
|  | UEGNSG134A | Establish a utilities infrastructure work site |
|  | UEGNSG140A | Apply with environmental policies and procedures in the utilities industry |
|  | UEGNSG141A | Apply Workplace Health and Safety regulations, codes and practices in the gas industry |
|  | HLTFA003 | Perform first aid |
|  | CPPFES2005A | Demonstrate first attack fire fighting equipment |

| Literacy and numeracy skills | 4.2) Participants are best equipped to achieve this unit if they have reading, writing and numeracy skills indicated by the following scales. Description of each scale is given in Volume 2, Part 3 ‘Literacy and Numeracy’ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Reading | 4 | Writing | 4 | Numeracy | 4 |

# Employability Skills Information

| Employability Skills | 5) |
| --- | --- |
|  | This unit contains Employability Skills |
|  | The required outcomes described in this unit of competency contain applicable facets of Employability Skills. The Employability Skills Summary of the qualification in which this unit of competency is packaged will assist in identifying Employability Skill requirements. |

# Elements and Performance Criteria Pre-Content

| 6) Elements describe the essential outcomes of a competency standard unit | Performance Criteria describe the required performance needed to demonstrate achievement of the element. Assessment of performance is to be consistent with the Evidence Guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| 1 | Plan to conduct first response to a gas facility event | 1.1 1.2 | Details of incident are confirmed with supervisor, control centre or radio room Specific requirements, drawings, plans, requirements, established procedures and material and equipment are examined and the extent of preparation for the work is assessed. |
|  |  | 1.3 | WHS/OHS and environmental risk control measures are identified, prioritised and evaluated against the work schedule |
|  |  | 1.4 | Relevant requirements and established procedures for the work are communicated to all persons and identified for all work sites |
|  |  | 1.5 | WHS/OHS, environmental and sustainable energy policies and procedures related to the work are received and confirmed |
|  |  | 1.6 | Relevant work permits are secured to coordinate the performance of work according to requirements and established procedures |
|  |  | 1.7 | Resources including persons, equipment, tools and personal protective equipment required for the job are identified, scheduled, coordinated and confirmed in a safe working order |
|  |  | 1.8 | Liaison and communication issues with authorised persons, authorities, clients and land owners are resolved and activities coordinated to carry out work |
|  |  | 1.9 | Persons participating in the work, including plant operators and contractors are fully briefed and respective responsibilities coordinated and authorised where applicable in accordance with establish procedures |
|  |  | 1.10 | Status of the system is sought through communication with pipeline control centre in accordance with established procedures |
|  |  | 1.11 | Site preparation, safety plan and the work schedule are confirmed in accordance with established procedures. |
| 2 | Conduct a first response to a gas facility event | 2.1 | WHS/OHS and risk control measures, schedule of work and standard operating procedures for carrying out the work are followed. |
|  |  | 2.2 | First Aid and other related work procedures are performed according to requirements and established procedures |
|  |  | 2.3 | Lifting, climbing, working in confined spaces and aloft, use of power tools, techniques and practices are safely exercised according to requirements |
|  |  | 2.4 | Equipment faults are identified through inspection and testing of operational equipment in accordance with a work schedule and to requirements |
|  |  | 2.5 | Hazard warnings and safety signs are recognised and hazards are assessed and WHS//OHS risks are reported to the immediate authorised persons for directions according to established procedures |
|  |  | 2.6 | Operating conditions of equipment are monitored through gauge levels, temperatures, flow indicators in order to determine performance of equipment and system |
|  |  | 2.7 | Liaison, where appropriate is performed with emergency authorities to ensure the safety of the public and property |
|  |  | 2.8 | Fault finding and troubleshooting techniques are applied to identify any repairs or maintenance that is required according to requirements and established procedures |
|  |  | 2.9 | Basic solutions to non-routine problems are identified and actioned according to requirements |
|  |  | 2.10 | Ongoing checks of quality of the work are undertaken in accordance with requirements and established procedures |
| 3 | Complete response to a gas facility event and relevant documentation. | 3.1 | Work undertaken is checked against work schedules for conformance with requirements, anomalies are reported and solutions identified in accordance with established procedures |
|  |  | 3.2 | Incidents and injuries are reported and followed up in accordance with requirements and established procedures |
|  |  | 3.3 | Work site is rehabilitated/cleaned up and confirmed safe and in accordance with established procedures |
|  |  | 3.4 | Tools, equipment and any surplus resources and materials are where appropriate, cleaned, checked and returned to storage in accordance with established procedures |
|  |  | 3.5 | Relevant work permit(s) are signed off accordance with requirements |
|  |  | 3.6 | Works completion records, reports as installed/modified drawing(s) and documentation and information is confirmed, processed and the appropriate persons notified |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

7) This describes the skills and knowledge and their level, required for this unit.

Evidence shall show that knowledge has been acquired of safe working practices for first response to a facility event.

All knowledge and skills detailed in this unit should be contextualised to current industry practices and technologies. The extent of the required skills and knowledge is provided below. It forms an integral part of this unit.

KS01-G350A Gas facility event response Evidence shall show an understanding of first response to a gas facility event in accordance with relevant legislation, code, regulations and procedures. to an extent indicated by the following aspects: T1. Relevant legislation, Australian Standards, codes, regulations and procedure requirements T2. WHS/OHS safety requirements hazards, risk assessment and control measures identify environmental and safety hazards, assess risks and implement control measures Hazardous materials MSDS PPE T3. Gas Industry facilities and infrastructure regulation and metering facilities compression facilities gas processing facilities such as coal seam methane plants LPG processing facilities scraper stations and pigging facilities odourisation facilities relevant operating policies and procedures T4. Operation of Gas Industry plant, equipment and materials relevant industry engineering terminology and units gas pipeline system operating parameters gas pipeline systems such as pumps, compressors, regulation, shutdown equipment, measurement systems by on-site or remote operation as applicable. relevant inspection and testing procedures for applicable plant and equipment start up and shut down processes of relevant equipment such as pipework, vessels and compressors, including on-site and remote operation as applicable. characteristics of gas flows including compressed and non-compressed operations characteristics, operation, capabilities and limitations of applicable tools and equipment including prime movers, compression and control systems, pipeline facilities and associated equipment operation of gas analysis and measuring equipment T5. Gas Industry products, processes and characteristics products, characteristics and tolerances including: principles of applicable gas laws gas pressure gas temperature compressibility relative density – specific gravity hydrocarbon and water dew points components of applicable natural gases including LPG standard gas conditions combustion venting and purging principles effects of temperature and pressure on infrastructure T6. Gas industry documents signs, symbols terminology and legends as used in gas industry procedures and documents gas industry standards, policies and procedures basic drawings and diagrams Process and Instrumentation Diagrams (PID) Facility and pipeline construction and as-built drawings Geographical Information System (GIS) drawings and data Electrical drawings Survey maps Pipeline route maps and alignment sheets topographical and geographical maps and information. workplace forms and reports T7. Problem solving methodology possible solutions and probable solutions basic problem solving techniques T8. Confined spaces requirements of Legislation, Regulations, Australian Standards and enterprise specific procedures for safe working in confined spaces what is a confined space is and the entry safety requirements manufacturers’ guidelines for the safe use of PPE used in confined spaces gas detectors for confined spaces entry breathing apparatus and rescue and recovery equipment T9. Electrical fundamentals for the Gas Industry extra low voltage operation electrical test equipment for cathodic protection on gas pipelines and facilities Electrical risks associated activities within the Gas Industry meters and other relevant electrical equipment. T10. Security breach procedures identification of different types of security incidents including but not limited to: physical security breaches at gas infrastructure threat assessment and management confidential information security communication with applicable emergency service and regulatory organisations compliance with applicable enterprise security policies and procedures T11. Emergency/incident control procedures enterprise emergency/incident control policies and procedures communication with relevant stakeholders application of relevant procedures T12. Emergency, accident and incident situations procedures emergency equipment and procedures for a fire breathing apparatus gas detectors/oxygen monitoring devices emergency equipment and procedures for a gas leak or vapour emission reports

# Evidence Guide

EVIDENCE GUIDE

8) The Evidence Guide forms an integral part of this Competency Standard Unit and shall be used in conjunction with all components parts of this unit and performed in accordance with the Assessment Guidelines of this Training Package.

| Overview of Assessment | 8.1) |
| --- | --- |
|  | Longitudinal competency development approaches to assessment, such as Profiling, require data to be reliably gathered in a form that can be consistently interpreted over time. This approach is best utilised in Apprenticeship programs and reduces assessment intervention. It is the Industry’s preferred model for apprenticeships. However, where summative (or final) assessment is used it is to include the application of the competency in the normal work environment or, at a minimum, the application of the competency in a realistically simulated work environment. It is recognised that, in some circumstances, assessment in part or full can occur outside the workplace. However, it must be in accord with Industry regulatory policy in this regard. |
|  | Methods chosen for a particular assessment will be influenced by various factors. These include the extent of the assessment, the most effective locations for the assessment activities to take place, access to physical resources, additional safety measures that may be required and the critical nature of the competencies being assessed. |
|  | The critical safety nature of working with electricity, electrical equipment, gas or any other hazardous substance/material carries risk in deeming a person competent. Hence, sources of evidence need to be ‘rich’ in nature so as to minimise error in judgment. |
|  | Activities associated with normal every day work have a bearing on the decision as to how much and how detailed the data gathered will contribute to its ‘richness’. Some skills are more critical to safety and operational requirements while the same skills may be more or less frequently practiced. These points are raised for the assessors to consider when choosing an assessment method and developing assessment instruments. Sample assessment instruments are included for Assessors in the Assessment Guidelines of this Training Package. |

| Critical aspects of evidence required to demonstrate competency in this unit | 8.2) |
| --- | --- |
|  | Before the critical aspects of evidence are considered all prerequisites shall be met. |
|  | Evidence for competence in this unit shall be considered holistically. Each element and associated Performance Criteria shall be demonstrated on at least two occasions in accordance with the ‘Assessment Guidelines — UEG11’. Evidence shall also comprise: |
|  | A representative body of work performance demonstrated within the timeframes typically expected of the discipline, work function and industrial environment. In particular this shall incorporate evidence that shows a candidate is able to: |
|  | Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and range |
|  | Apply sustainable energy principles and practices as specified in the Performance Criteria and range |
|  | Demonstrate an understanding of the required knowledge and skills as described in this unit to such an extent that the learner’s performance outcome is reported in accordance with the preferred approach; namely a percentile graded result, where required by the regulated environment |
|  | Demonstrate an appropriate level of employability skills |
|  | Conduct work observing the relevant anti-discrimination legislation, regulations, polices and workplace procedures |
|  | Demonstrate performance across a representative range of contexts from the prescribed items below. Carrying out first response on a gas facility in accordance with relevant legislation, code, regulations and procedures as described in 9.) Range Statement and including: |

|  | Range of tools/equipment/procedures/workplace |  |  |
| --- | --- | --- | --- |
|  | Group No | The minimum number of items on which skill is to be demonstrated | Item List |
|  | A | All | Identify threats to the integrity of transmission pipeline facility Evaluate threats to the integrity of transmission pipeline facility Initial control of threats to the integrity of transmission pipeline facility Working knowledge of relevant sections the latest edition of AS2885 Working knowledge of the station function including identification of abnormal conditions of stations and reporting Working knowledge of MSDS Operation of multi meters Working knowledge of pipeline licence conditions |
|  | B | All | Interpret technical drawings and symbols Operation of gas detector Emergency response procedures Operate pipe locater Work utilising relevant OHS legislation, regulations, codes of practice, policies and procedures Practical knowledge of the properties of product being transported Maintain a safe and clean workplace Work safely with hazardous materials and equipment Apply safe manual handling techniques Communicate effectively in the workplace Negotiation skills Apply basic planning skills First Aid certificate level 1 |
|  | C | At least one occasion | Deal with an unplanned event by drawing on required knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items |

| Context of and specific resources for assessment | 8.3) |
| --- | --- |
|  | This unit contains Employability Skills |
|  | This unit should be assessed as it relates to normal work practice using procedures, information and resources typical of a workplace. This should include: |
|  | OHS policy and work procedures and instructions. |
|  | Suitable work environment, facilities, equipment and materials to undertake actual work as prescribed by this Competency Standard Unit. |
|  | Appropriate environmental regulation and work practices. |
|  | Appropriate organisational requirements. |
|  | Appropriate work environment, equipment and tools. |
|  | In addition to the resources listed above in, Context of and specific resources for assessment, evidence should show demonstrated competency of first response to a facility event. |
|  | Assessment of this competency must also be undertaken in either an actual workplace or under a simulated work environment. Assessment must also integrate the employability skills. |

| Method of assessment | 8.4) |
| --- | --- |
|  | This Competency Standard Unit shall be assessed by methods given in Volume 1, Part 3 ‘Assessment Guidelines’. |
|  | Note: Competent performance with inherent safe working practices is expected in the Industry to which this Competency Standard Unit applies. This requires that the specified required Knowledge and Skills are assessed in a structured environment which is primarily intended for learning/assessment and incorporates all necessary equipment and facilities for learners to develop and demonstrate the required knowledge and skills described in this unit. |

| Concurrent assessment and relationship with other units | 8.5) |  |
| --- | --- | --- |
|  | There are no recommended concurrent assessments with this unit, however in some cases efficiencies may be gained in terms of learning and assessment effort being concurrently managed with allied Competency Standard Units where listed. |  |
|  | UEGNSG342A | Maintain pipeline easements |
|  | UEGNSG353A | Carry out surveillance of gas transmission pipelines |
|  | UEGNSG221A | First on site response to a gas pipeline emergency |

# Range Statement

RANGE STATEMENT

9) This relates to the competency standard unit as a whole providing the range of contexts and conditions to which the Performance Criteria apply. It allows for different work environments and situations that will affect performance.

This Competency Standard Unit shall be demonstrated in relation to performing first response to a gas facility event

The following constants and variables included in the element/Performance Criteria in this unit are fully described in the Definitions Section of this volume and form an integral part of the Range Statement of this unit:

Tools and equipment

Maps and drawings

Established procedures

PPE and First Aid equipment

Traffic control

Facility

Event

# Unit Sector(s)

Gas Supply Industry

# Competency Field

| Competency Field | 10) |
| --- | --- |
|  | Transmission. |