# UEGNSG506A Respond to gas infrastructure emergencies

Release 1

UEGNSG506A Respond to gas infrastructure emergencies

# Modification History

Not applicable.

# Unit Descriptor

| Unit Descriptor | 1) Scope: |
| --- | --- |
|  | 1.1) Descriptor |
|  | This unit covers the first response requirements of a pipeline controller to a gas distribution or transmission emergency incident in accordance with relevant legislation, code, regulations and procedures. These incidents may include but are not limited to, gas escapes, gas outages, security breaches, fires, injury and damage. |
|  | This encompasses assessing the situation extent and type of incident from the control centre; dispatching staff to assess the site and where required, they will make the area safe and report back to the control centre. Staff on site are responsible for identifying sources of gas leaks, reporting back to the response/control centre, identifying and controlling potential ignition sources, ventilation/ evacuation from property, liaising with other authorities and emergency services, remaining on site and maintaining site safety until support arrives, should it be required. |

# Application of the Unit

| Application of the Unit | 2) |
| --- | --- |
|  | This competency standard shall apply to gas distribution and transmission pipelines and facilities, subject to all Workplace Health and Safety (WHS) /Occupational Health and Safety (OHS) and duty of care requirements being met for the workplace. This unit is intended as an AQF 3 competency for new and existing workers in the gas industry. It is suitable for employment-based programs under an approved contract of training. |

# Licensing/Regulatory Information

| License to practice | 3) |
| --- | --- |
|  | During Training: Competency development activities are subject to regulations directly related to licensing, occupational health and safety, and where applicable contracts of training such as apprenticeships. In the workplace: The skills and knowledge described in this unit are not subject to licence regulation other than those directly related to WHS /Occupational Health and Safety (OHS), gas industry codes/guidelines, industrial relations, environmental protection, anti-discrimination and training laws. Commonwealth, State/Territory or Local Government legislation and regulations may limit the age at which a person can operate certain equipment. Other conditions may apply to this competency under State and Territory legislative and regulatory requirements. |

# Pre-Requisites

| Prerequisite Unit(s) | 4) |  |
| --- | --- | --- |
| Competencies | 4.1) |  |
|  | Granting of competency in this unit shall be made only after competency in the following unit(s) has/have been confirmed: |  |
|  | UEGNSG141A | Apply Workplace Health and Safety regulations, codes and practices in the gas supply industry |
|  | UEGNSG005A | Prepare to work in the Australian gas industry |
|  | UEGNSG132A | Carry out basic work activities in a gas industry work environment |
|  | UEGNSG140A | Apply environmental policies and procedures in the utilities industry |
|  | HLTAID003 | Perform first aid |

| Literacy and numeracy skills | 4.2) Participants are best equipped to achieve this unit if they have reading, writing and numeracy skills indicated by the following scales. Description of each scale is given in Volume 2, Part 3 ‘Literacy and Numeracy’ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Reading | 3 | Writing | 3 | Numeracy | 3 |

# Employability Skills Information

| Employability Skills | 5) |
| --- | --- |
|  | This unit contains Employability Skills |
|  | The required outcomes described in this unit of competency contain applicable facets of Employability Skills. The Employability Skills Summary of the qualification in which this unit of competency is packaged will assist in identifying Employability Skill requirements. |

# Elements and Performance Criteria Pre-Content

| 6) Elements describe the essential outcomes of a competency standard unit | Performance Criteria describe the required performance needed to demonstrate achievement of the element. Assessment of performance is to be consistent with the Evidence Guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| 1 | Prepare to respond to an emergency | 1.1 | Relevant WHS/OHS, environmental and sustainable energy policies, procedures and measures are identified, obtained and understood. |
|  |  | 1.2 | Emergency/incident is recognised and confirmed with supervisory systems, supervisor/leader, other control centres and according to organisational procedures. |
|  |  | 1.3 | Relevant requirements and established procedures for the incident response are discussed with relevant persons to establish and confirm the emergency response plan. |
|  |  | 1.4 | Relevant personnel are despatched to site to assess and report on details of the emergency or incident where required. |
|  |  | 1.5 | Hazards are identified, WHS/OHS risks assessed and control measures are prioritised, implemented and monitored according to established procedures. |
|  |  | 1.6 | Relevant work permits and/or relevant notifications if required are secured to ensure the work is approved, recorded, coordinated and performed safely. |
|  |  | 1.7 | Effective liaison and communication is established with the supervisor, coordination centre, emergency authorities and land owners. |
| 2 | Respond to an emergency | 2.1 | WHS/OHS policies and procedures and safe work practices are followed to eliminate or minimise emergencies/incidents and hazards. |
|  |  | 2.2 | Relevant emergency/incident information and actions are recorded and reported using established procedures. |
|  |  | 2.3 | Operating conditions of equipment are monitored such as, temperatures, flow and pressures in order to determine performance of equipment/pipeline and are adjusted according to emergency response procedures. |
|  |  | 2.4 | Negotiation processes with third parties concerning the threat to the pipeline occurs to ensure the pipeline can be monitored. |
|  |  | 2.5 | Communication with immediate supervisor, coordination centre, emergency authorities and relevant stakeholders is undertaken and maintained in accordance with established procedures. |
|  |  | 2.6 | Actions from the coordination centre are applied in order to minimise threats to the public, pipeline or facilities and environment as well as expedite control/reparation. |
|  |  | 2.7 | Procedures for referring non-routine events to the immediate authorised persons for directions are followed, for example the emergency level being escalated. |
| 3 | Complete the work and relevant documentation | 3.1 | WHS/OHS risk control work completion measures and procedures are followed. |
|  |  | 3.2 | Incidents and injuries are reported and followed up in accordance with requirements and established procedures. |
|  |  | 3.3 | The emergency or incident is correctly handed over to the emergency/incident coordinator or relief response person, including all reports, risk control measures and permit conditions. |
|  |  | 3.4 | Relevant work permit(s) are completed and signed off in accordance with requirements. |
|  |  | 3.5 | Works completion documentation including records, reports as installed/modified drawing(s) and information is completed accurately and provided to appropriate persons in accordance with established procedures. |
|  |  | 3.6 | Participation in debriefing occurs to discuss strengths and weaknesses of emergency/incident response. |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

7) This describes the skills and knowledge and their level, required for this unit.

Evidence shall show that knowledge has been acquired for first on site emergency response on a distribution pipeline.

All knowledge and skills detailed in this unit should be contextualised to current industry practices and technologies. The extent of the required skills and knowledge is provided below. It forms an integral part of this unit.

KS01-G506A First response to a gas infrastructure emergency

Evidence shall show an understanding of first response to gas infrastructure emergency requirements for a gas distribution or transmission incident in accordance with relevant legislation, code, regulations and procedures to an extent indicated by the following aspects: T1. Security breaches and required action types of security incidents including but not limited to physical security breaches at gas infrastructure threat assessment and management confidential information security communication with applicable emergency service and regulatory organisations compliance with applicable enterprise security policies and procedures T2. Emergency/incident control procedures compliance with applicable enterprise policies and procedures communication with relevant stakeholders application of relevant procedures reporting protocols on an emergency initial control measures in a gas emergency situation safe approach of a gas emergency site T3. Emergency assessment physical security breaches of gas infrastructure threat assessment and management T4. Incident investigation and evidence gathering techniques investigating events maintaining integrity of infrastructure – from the control room gathering evidence from site – despatching staff to site preserving evidence for further investigation T5. Problem solving in a first response role likely problems /assets involved and possible solutions recommending probable solutions problem solving techniques understanding and interpreting relevant technical drawings including, but not limited to: District plans Mains detail plans Easement Plans Industrial Service Plans Pipeline route maps and alignment sheets T6. Communications identify nature of situation and preliminary assessment internal workplace colleagues and managers other relevant departments external relevant customers and suppliers regulatory bodies property/land owners (including traditional land owners) and tenants emergency response organisations T7. Reports procedures and legislative requirements for maintaining appropriate reporting and recording systems job records and process information to appropriate/relevant department non-conformance and incident reports including customer outages/ security breaches

# Evidence Guide

EVIDENCE GUIDE

8) The Evidence Guide forms an integral part of this Competency Standard Unit and shall be used in conjunction with all components parts of this unit and performed in accordance with the Assessment Guidelines of this Training Package.

| Overview of Assessment | 8.1) |
| --- | --- |
|  | Longitudinal competency development approaches to assessment, such as Profiling, require data to be reliably gathered in a form that can be consistently interpreted over time. This approach is best utilised in Apprenticeship programs and reduces assessment intervention. It is the Industry’s preferred model for apprenticeships. However, where summative (or final) assessment is used it is to include the application of the competency in the normal work environment or, at a minimum, the application of the competency in a realistically simulated work environment. It is recognised that, in some circumstances, assessment in part or full can occur outside the workplace. However, it must be in accord with Industry regulatory policy in this regard. |
|  | Methods chosen for a particular assessment will be influenced by various factors. These include the extent of the assessment, the most effective locations for the assessment activities to take place, access to physical resources, additional safety measures that may be required and the critical nature of the competencies being assessed. |
|  | The critical safety nature of working with electricity, electrical equipment, gas or any other hazardous substance/material carries risk in deeming a person competent. Hence, sources of evidence need to be ‘rich’ in nature so as to minimise error in judgment. |
|  | Activities associated with normal every day work have a bearing on the decision as to how much and how detailed the data gathered will contribute to its ‘richness’. Some skills are more critical to safety and operational requirements while the same skills may be more or less frequently practiced. These points are raised for the assessors to consider when choosing an assessment method and developing assessment instruments. Sample assessment instruments are included for Assessors in the Assessment Guidelines of this Training Package. |

| Critical aspects of evidence required to demonstrate competency in this unit | 8.2) |  |  |
| --- | --- | --- | --- |
|  | Before the critical aspects of evidence are considered all prerequisites shall be met. |  |  |
|  | Evidence for competence in this unit shall be considered holistically. Each element and associated Performance Criteria shall be demonstrated on at least two occasions in accordance with the ‘Assessment Guidelines — UEG11’. Evidence shall also comprise. |  |  |
|  | A representative body of Performance Criteria demonstrated within the timeframes typically expected of the discipline, work function and industrial environment. In particular this shall incorporate evidence that shows a candidate is able to: |  |  |
|  | Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and range |  |  |
|  | Apply sustainable energy principles and practices as specified in the Performance Criteria and range |  |  |
|  | Demonstrate an understanding of the required skills and knowledge as described in this unit to such an extent that the learner’s performance outcome is reported in accordance with the preferred approach; namely a percentile graded result, where required by the regulated environment |  |  |
|  | Demonstrate an appropriate level of employability skills |  |  |
|  | Conduct work observing the relevant anti-discrimination legislation, regulations, polices and workplace procedures |  |  |
|  | Demonstrate performance across a representative range of contexts from the prescribed items below. Carrying out first response to a gas infrastructure emergency for a gas distribution or transmission incident in accordance with relevant legislation, code, regulations and procedures as described in 9.) Range Statement and including: |  |  |
|  |  | A. | Identifying and evaluating threats to the integrity of gas pipelines |  |
|  |  | B. | Assessing the incident |  |
|  |  | C. | Monitoring gas infrastructure performance |  |
|  |  | D. | Investigating the incident and collecting evidence |  |
|  |  | E. | Completing required documentation and reporting. |  |
|  |  | F. | Dealing with unplanned events by drawing on required skills and knowledge, procedures/ protocols to provide appropriate solutions incorporated in the holistic assessment with the above listed items, for example encroachment and/or contact with assets |  |

| Context of and specific resources for assessment | 8.3) |
| --- | --- |
|  | This unit should be assessed as it relates to normal work practice using procedures, information and resources typical of a workplace. This should include: |
|  | OHS/OHS policy and work procedures and instructions. |
|  | Suitable work environment, facilities, equipment and materials to undertake actual work as prescribed by this Competency Standard Unit. |
|  | Appropriate environmental regulation and work practices. |
|  | Appropriate work environment, equipment and tools. |
|  | These should be part of the formal learning/assessment environment. Assessment of this competency must also be undertaken in either an actual workplace or under a simulated work environment. Assessment must also integrate the employability skills Note: Where simulation is considered a suitable strategy for assessment, conditions must be authentic and as far as possible reproduce and replicate the workplace and be consistent with the approved industry simulation policy. The resources used for assessment should reflect current industry practices in relation to locating, proving and protecting utility assets. |

| Method of assessment | 8.4) |
| --- | --- |
|  | This Competency Standard Unit shall be assessed by methods given in Volume 1, Part 3 ‘Assessment Guidelines’. |
|  | Note: Competent performance with inherent safe working practices is expected in the Industry to which this Competency Standard Unit applies. This requires that the required Skills and Knowledge s are assessed in a structured environment which is primarily intended for learning/assessment and incorporates all necessary equipment and facilities for learners to develop and demonstrate the required skills and knowledge and associated skills described in this unit. |

| Concurrent assessment and relationship with other units | 8.5) |  |
| --- | --- | --- |
|  | There are no recommended concurrent assessments with this unit, however in some cases efficiencies may be gained in terms of learning and assessment effort being concurrently managed with allied Competency Standard Units where listed. |  |
|  | UEGNSG132A | Carry out basic work activities in a gas industry work environment |
|  | UEGNSG133A | Comply with environmental policies and procedures in the utilities industry |
|  | BSBFLM312B | Contribute to team effectiveness |
|  | BSBFLM303C | Contribute to effective workplace relationships |

# Range Statement

RANGE STATEMENT

(9) This relates to the competency standard unit as a whole providing the range of contexts and conditions to which the Performance Criteria apply. It allows for different work environments and situations that will affect performance.

This Competency Standard Unit shall be demonstrated in relation to first response to an emergency on a gas pipeline which may include but is not limited to, escapes, outages, security breaches, fires, injury and damages. This includes assessing the situation extent & type of incident; despatching staff to site and to make the area safe and report back to the response/control centre. The staff on site are responsible for identifying and controlling potential ignition sources, ventilation/ evacuation from property, liaising with other authorities and emergency services as required and instructed.

The following constants and variables included in the Element/Performance Criteria in this unit are fully described in the Definitions Section of this volume and form an integral part of the Range Statement of this unit:

Tools and equipment

Maps and drawings

Established procedures

PPE and First Aid equipment

Emergency response manuals

Security breach investigation practices

# Unit Sector(s)

Gas Industry

# Competency Field

| Competency Field | 10) |
| --- | --- |
|  | Gas distribution and transmission |