# UEP40518 Certificate IV in ESI Generation Maintenance (Mechanical)

Release 2

UEP40518 Certificate IV in ESI Generation Maintenance (Mechanical)

# Modification History

Release 2. This is the second release of this qualification in the Electricity Supply Industry - Generation Sector Training Package. The following modification has been made: • UEPMNT320 Inspect and repair faults in mechanical equipment and components and UEPMNT406 Install and maintain a steam turbine and UEPMNT311 Maintain fuel transport equipment and UEPMNT313 Maintain internal combustion engines and UEPMNT315 Maintain wind turbines and UEPMNT424 Monitor efficiency of thermal steam cycle power plant and UEPMNT339 Perform sheet metal work and UEPMNT407 Repair a gas turbine unit deleted due to zero enrolment.

Release 1. This is the first release of this qualification in the UEP - Electricity Supply Industry - Generation Sector Training Package.

# Qualification Description

Participants gaining this qualification will be able to complete power generation work functions in the electrical supply industry. Functions can include the installation, repair, maintenance of plant and mechanical systems, maintenance planning and scheduling. It also includes observation of safe working practices, supervision of others and the coordination of work activities. No licensing, legislative or certification requirements apply to this qualification at the time of publication.

# Entry Requirements

There are no entry requirements for this qualification.

# Packaging Rules

| A total 1280 weighting points comprising 770 core weighting points, plus 510 elective weighting points from the general elective units listed below. Choose a total of 730 weighting point from the general elective units list below of which between0 and 220 weighting points can be taken from Group A. A total of 310 weighting points may be taken from Group B. Between 200 and 510 weighting points may be taken from Group C, you may select all your elective units from this group. Up to 220 weighting points of the general elective units Group A, may be selected, with appropriate contextualisation, from any relevant nationally endorsed Training Package or accredited course, provided that selected units contribute to the vocational outcome of the qualification. Previously assigned weighting points are listed in UEP CVIG, if not listed weighting points will be 10 points unless directed from the ESI Generation Industry Reference Committee (IRC). The general elective units must contribute to the vocational outcomes of the qualification. Where imported units are selected, care must be taken to ensure that all prerequisite units specified are complied with. Where a prerequisite unit is attached to a unit, it is identified by this symbol ∟. |  |  |
| --- | --- | --- |
| Core units |  | Weighting points |
| MEM07005C | Perform general machining ∟MEM09002 Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools | 80 |
| MEM07006C | Perform lathe operations ∟MEM07005C Perform general machining ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools | 40 |
| MEM07007C | Perform milling operations ∟MEM07005C Perform general machining ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools | 40 |
| MEM07008D | Perform grinding operations ∟MEM07005C Perform general machining ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools | 40 |
| MEM09002B | Interpret technical drawing | 40 |
| MEM12003B | Perform precision mechanical measurement ∟MEM12023A Perform engineering measurements | 20 |
| MEM12023A | Perform engineering measurements | 50 |
| MEM12024A | Perform computations | 30 |
| MEM18001C | Use hand tools | 20 |
| MEM18002B | Use power tools/hand held operations | 20 |
| MEM18003C | Use tools for precision work ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations | 40 |
| MEM18006C | Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 60 |
| MEM18007B | Maintain and repair mechanical drives and mechanical transmission assemblies ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18006C Repair and fit engineering components ∟MEM18009B Perform levelling and alignment of machines and engineering components ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| MEM18009B | Perform levelling and alignment of machines and engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18006C Repair and fit engineering components ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| MEM18055B | Dismantle, replace and assemble engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations | 30 |
| UEENEEE117A | Implement and monitor energy sector OHS policies and procedures | 20 |
| UEENEEE101A | Apply Occupational, Health and Safety regulations, codes and practices in the workplace | 20 |
| UEPOPS202 | Apply quality systems to work | 20 |
| UEPOPS337 | Maintain quality systems within the team ∟UEPOPS202 Apply quality systems to work | 20 |
| UEPOPS338 | Facilitate workplace communication | 20 |
| UEPOPS417 | Monitor and implement environmental site plans and procedures | 20 |
| UEPOPS430 | Control permit to work operations | 30 |
| UEPOPS439 | Plan and organise work | 30 |
| Group A elective units |  | Weighting points |
| BSBCUS401 | Coordinate implementation of customer service strategies | 40 |
| BSBINM401 | Implement workplace information system | 40 |
| BSBINN301 | Promote innovation in a team environment | 40 |
| BSBLED401 | Develop teams and individuals | 40 |
| BSBMGT402 | Implement operational plan | 40 |
| BSBMGT403 | Implement continuous improvement | 40 |
| BSBLDR402 | Lead effective workplace relationships | 50 |
| BSBLDR403 | Lead team effectiveness | 50 |
| BSBWOR404 | Develop work priorities | 40 |
| CPCCCM2007B | Use explosive power tools ∟CPCCOHS2001A Apply OHS requirements, policies and procedures in the construction industry | 15 |
| CPCCLDG3001A | Licence to perform dogging | 30 |
| CPCCLRG3001A | Licence to perform rigging basic level ∟CPCCLDG3001A Licence to perform dogging | 40 |
| CPCCLRG3002A | Licence to perform rigging intermediate level ∟CPCCLRG3001A Licence to perform rigging basic level | 40 |
| CPCCLSF2001A | Licence to erect, alter and dismantle scaffolding basic level | 40 |
| MEM09003B | Prepare basic engineering drawing ∟MEM09002B Interpret technical drawing | 80 |
| MEM09004B | Perform electrical/electronic detail drafting ∟MEM09002B Interpret technical drawing ∟MEM09003B Prepare basic engineering drawing | 80 |
| MEM09005B | Perform basic engineering detail drafting ∟MEM09002B Interpret technical drawing ∟MEM09003B Prepare basic engineering drawing | 80 |
| MEM09006B | Perform advanced engineering detail drafting ∟MEM09002B Interpret technical drawing ∟MEM09003B Prepare basic engineering drawing ∟MEM09005B Basic engineering detail drafting | 40 |
| RIIHAN309E | Conduct telescopic materials handler operations | 80 |
| TAEDEL301 | Provide work skill instruction | 40 |
| TLILIC0002 | Licence to operate a vehicle loading crane (capacity 10 metre tonnes and above) | 40 |
| TLILIC0003 | Licence to operate a forklift truck | 40 |
| TLILIC0005 | Licence to operate a boom type elevating work platform (boom length 11 metres or more) | 30 |
| TLILIC0008 | Licence to operate a non-slewing mobile crane (greater than 3 tonnes capacity) | 60 |
| Group B elective units |  | Weighting points |
| MEM05004C | Perform routine oxy acetylene welding | 20 |
| MEM05007C | Perform manual heating and thermal cutting | 20 |
| MEM05012C | Perform routine manual metal arc welding | 20 |
| MEM18010C | Perform equipment condition monitoring and recording ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| MEM18018C | Maintain pneumatic system components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18006C Repair and fit engineering components ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| MEM18020B | Maintain hydraulic system components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18006C Repair and fit engineering components ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT302 | Install and maintain industrial pipe work ∟ MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT303 | Maintain mechanical valves ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use power tools/hand held operations ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT304 | Maintain mechanical pumps ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT305 | Maintain industrial fans ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT307 | Maintain industrial screens, strainers and filters ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 20 |
| UEPMNT308 | Maintain conveyors and associated equipment ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT309 | Maintain material feeders ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT310 | Maintain material crushers ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT312 | Maintain industrial pressure vessels ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 80 |
| UEPMNT314 | Maintain hydro turbines | 100 |
| UEPMNT317 | Diagnose and repair faults in mechanical equipment ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT318 | Conduct generator mechanical maintenance ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 80 |
| UEPMNT340 | Fabricate metal structures and components ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT367 | Install and commission stationary gas fuelled reciprocating engines ∟CPCCWHS1001 Prepare to work safely in the construction industry ∟HLTAID001 Provide cardiopulmonary resuscitation | 60 |
| UEPMNT368 | Repair and maintain stationary gas fuelled reciprocating engines ∟CPCCWHS1001 Prepare to work safely in the construction industry ∟HLTAID001 Provide cardiopulmonary resuscitation | 60 |
| UEPOPS301 | Conduct single energy source isolation procedures for permit to work | 40 |
| Group C elective units |  | Weighting points |
| UEPMNT401 | Install and maintain complex mechanical seals ∟UEPMNT304 Maintain mechanical pumps ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT402 | Conduct complex levelling and alignment ∟MEM18009B Perform levelling and alignment of machines and engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components ∟MEM18006C Repair and fit engineering components | 40 |
| UEPMNT403 | Maintain complex mechanical valves ∟UEPMNT303 Maintain mechanical valves ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT404 | Maintain complex mechanical pumps ∟UEPMNT304 Maintain mechanical pumps ∟MEM18006C Repair and fit engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| UEPMNT408 | Install hydro turbines ∟UEPMNT402 Conduct complex levelling and alignment ∟MEM18009B Perform levelling and alignment of machines and engineering components ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18055B Dismantle, replace and assemble engineering components ∟MEM18006C Repair and fit engineering components | 100 |
| UEPMNT419 | Perform civil drafting ∟UEENEEE107A Use drawings, diagrams, schedules, standards, cords and specifications ∟MEM09002B Interpret technical drawing | 60 |
| UEPMNT421 | Conduct technical inspection of process plant and equipment ∟UEPMNT351 Test and commission electrical equipment ∟UEENEEG108A Troubleshoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEE102A Fabricate, dismantle, assemble of utilities industry components ∟UEENEEE104A Solve problems in D.C. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, cords and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage A.C. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 60 |
| UEPMNT422 | Conduct performance testing on process plant and equipment ∟UEPMNT351 Test and commission electrical equipment ∟UEENEEG108A Troubleshoot and repair faults in low voltage electrical apparatus and circuits ∟UEENEEE102A Fabricate, dismantle, assemble of utilities industry components ∟UEENEEE104A Solve problems in D.C. circuits ∟UEENEEE105A Fix and secure electrotechnology equipment ∟UEENEEE107A Use drawings, diagrams, schedules, standards, cords and specifications ∟UEENEEG006A Solve problems in single and three phase low voltage machines ∟UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits ∟UEENEEG063A Arrange circuits, control and protection for general electrical installations ∟UEENEEG101A Solve problems in electromagnetic devices and related circuits ∟UEENEEG102A Solve problems in low voltage A.C. circuits ∟UEENEEG106A Terminate cables, cords and accessories for low voltage circuits | 60 |
| UEPOPS402 | Conduct multiple energy source isolation procedures for permit to work ∟UEPOPS301 Conduct single energy source isolation procedures for permit to work. | 40 |
| MEM07011B | Perform complex milling operations ∟MEM07005C Perform general machining ∟MEM07007C Perform milling operations ∟MEM09002B Interpret technical drawing ∟MEM12003B Perform precision mechanical measurement ∟MEM12023A Perform engineering measurements ∟MEM12024A Perform computations ∟MEM18001C Use hand tools | 40 |
| MEM07012B | Perform complex grinding operations ∟MEM07005C Perform general machining ∟MEM07008D Perform grinding operations ∟MEM09002B Interpret technical drawing ∟MEM12003B Perform precision mechanical measurement ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools | 40 |
| MEM07021B | Perform complex lathe operations ∟MEM07005C Perform general machining ∟MEM07006C Perform lathe operations ∟MEM09002B Interpret technical drawing ∟MEM12003B Perform precision mechanical measurement ∟MEM12023A Perform engineering measurements ∟MEM12024A Perform computations ∟MEM18001C Use hand tools | 40 |
| MEM18019B | Maintain pneumatic systems ∟MEM09002B Interpret technical drawing ∟ MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18006C Repair and fit engineering components ∟MEM18018C Maintain pneumatic system components ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| MEM18021B | Maintain hydraulic systems ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18006C Repair and fit engineering components ∟MEM18020B Maintain hydraulic system components ∟MEM18055B Dismantle, replace and assemble engineering components | 40 |
| MEM18022B | Maintain fluid power controls ∟MEM09002B Interpret technical drawing ∟MEM12023A Perform engineering measurements ∟MEM18001C Use hand tools ∟MEM18002B Use power tools/hand held operations ∟MEM18003C Use tools for precision work ∟MEM18006C Repair and fit engineering components ∟MEM18018C Maintain pneumatic system components ∟MEM18019B Maintain pneumatic systems ∟MEM18055B Dismantle, replace and assemble engineering components ∟MEM18020B Maintain hydraulic system components ∟MEM18021B Maintain hydraulic systems ∟MEM18055B Dismantle, replace and assemble engineering components | 80 |

# Qualification Mapping Information

This qualification replaces and is equivalent to UEP40312 Certificate IV in ESI Generation Maintenance (Mechanical)

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8