# UEPMNT003 Coordinate maintenance on a wind farm

Release: 1

UEPMNT003 Coordinate maintenance on a wind farm

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to coordinate scheduled servicing and maintenance of wind turbines on a wind farm. Scheduled maintenance is the process of optimising plant and equipment operations through regular inspections and verification of wind turbines for operational efficiency. Competency in this unit requires the ability to plan for scheduled maintenance, coordinate scheduled maintenance, respond to wind turbine breakdown, produce production and maintenance reports and make recommendations for dealing with wind turbine breakdowns. Individuals will, in general, work as a coordinator in an electrical, electronic and/or mechanical equipment repair workshop or on site. Power generation maintenance personnel are trained and authorised to receive permits to work. The application of the skills and knowledge described in this unit may require a licence/registration to practice in the workplace. Other conditions may apply under state and territory legislative and regulatory licensing requirements which must be confirmed prior to commencing this unit

# Pre-requisite Unit

UEPMNT009 Maintain large scale wind turbines UEPMNT010 Maintain wind turbine control systems UEPMNT012 Maintain wind turbine mechanical systems

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan for scheduled maintenance | 1.1 | Maintenance schedules provided by key stakeholders and organisational representatives are accessed and interpreted |
|  |  | 1.2 | Local maintenance work schedules are developed in accordance with workplace procedures |
|  |  | 1.3 | Stock and spare parts are identified in accordance with workplace procedures |
| 2 | Coordinate scheduled maintenance | 2.1 | Roles and tasks are allocated to onsite personnel in accordance with workplace procedures |
|  |  | 2.2 | Scheduled maintenance is performed in accordance with workplace procedures and within established timeframes |
|  |  | 2.3 | A financial budget for scheduled maintenance is identified and coordinated |
|  |  | 2.4 | Maintenance tasks are completed in accordance with the maintenance schedule and industry standards |
|  |  | 2.5 | Allocation of work tasks is coordinated in accordance with workplace procedures |
|  |  | 2.6 | Risk control measures are identified, prioritised and evaluated against maintenance schedule |
|  |  | 2.7 | Work permits are secured for performance of maintenance tasks in accordance with workplace procedures |
| 3 | Respond to wind turbine breakdown | 3.1 | An action plan for wind turbine breakdowns is developed and implemented in accordance with workplace procedures |
|  |  | 3.2 | Key stakeholders, personnel and organisations are advised of outage in accordance with workplace procedures |
|  |  | 3.3 | Out-of-hours breakdown roster is updated and applied in accordance with workplace procedures |
|  |  | 3.4 | Analysis of wind turbine breakdown to determine likely remediation actions is undertaken in accordance with workplace procedures |
|  |  | 3.5 | Resources to find cause of wind turbine fault or breakdown are allocated |
|  |  | 3.6 | Escalation procedures are applied, if required, for wind turbine fault |
|  |  | 3.7 | Remediation for defective components or plant is selected in accordance with workplace procedures |
|  |  | 3.8 | Technical advice is given regarding potential hazards, safety risks and risk control measures or appropriate authorities are consulted |
|  |  | 3.9 | Solutions to non-routine problems are identified and actioned in accordance with workplace procedures |
| 4 | Produce production and maintenance reports | 4.1 | Wind turbine records to produce maintenance reports are accessed |
|  |  | 4.2 | Reports are produced in accordance with workplace procedures and standards using applicable software and formats |
|  |  | 4.3 | Reports are distributed to stakeholders and appropriate personnel in accordance with workplace procedures |
| 5 | Make recommendations for dealing with wind turbine breakdowns | 5.1 | Recommendations for dealing with wind turbine breakdowns are made to appropriate personnel |
|  |  | 5.2 | Debriefing discussion is held with team members to facilitate managing similar wind turbine breakdowns |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT446 Coordinate maintenance on a wind farm.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPMNT003 Coordinate maintenance on a wind farm

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel and stakeholders coordinating scheduled maintenance determining permit to work requirements developing maintenance schedule plan complying with regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements making recommendations for dealing with wind turbine breakdowns planning for scheduled maintenance work producing maintenance reports providing direction to team members involved in maintenance activities responding to wind turbine breakdown utilising risk control register.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

communication in a team environment coordination responsibilities development of team members through task allocation equipment spares and consumables suitable for maintenance escalations for identified faults organising maintenance schedules and plans permit to work system regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements report writing, including standards and styles WHS/OHS legislated requirements, including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8