# Assessment Requirements for UEPMNT006 Diagnose and repair faults in wind turbine electrical systems

Release: 1

Assessment Requirements for UEPMNT006 Diagnose and repair faults in wind turbine electrical systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/Occupational health and safety (OHS) requirements, including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel determining permit to work requirements gathering data, including faulty indicators, error codes and sensory data interpreting data to establish theory about wind turbine electrical system faults complying with regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements recording wind turbine electrical system faults removing and repairing wind turbine electrical system faults tagging and storing faulty wind turbine electrical system components testing wind turbine electrical system undertaking risk analysis utilising safety precautions verifying faults.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and range of conditions and include knowledge of:

fault diagnosis and verification installation and/or repair of wind turbine electrical system isolations permit to work system regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements risk analysis safety precautions tag and storage of faulty wind turbine electrical system components techniques for replacing damaged wiring WHS/OHS legislated requirements, including: emergency procedures risk control measures hazard identification safe working practices wind turbine electrical system testing workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8