# Assessment Requirements for UEPMNT008 Maintain and monitor wind farm civil assets

Release: 1

Assessment Requirements for UEPMNT008 Maintain and monitor wind farm civil assets

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing work confirming security systems operation complying with regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements maintaining and repairing civil assets, including: performing corrosion restoration and painting of metal surfaces placing pest control baits in a safe and environmentally aware manner undertaking surveys of lighting systems and replacing defective bulbs using brush cutters and mowers to reduce vegetation form the perimeter of buildings and/or structures monitoring civil assets planning for maintenance and monitoring of wind farm civil assets work.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

civil asset monitoring, including paint work, corrosion, pests, vegetation and erosion civil assets, including fences, gates, roads, pathways, security system and lights inspection methods and techniques maintenance methods and techniques regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements repair methods and techniques WHS/OHS legislated requirements, including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8