# Assessment Requirements for UEPMNT010 Maintain wind turbine control systems

Release: 1

Assessment Requirements for UEPMNT010 Maintain wind turbine control systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing work in accordance with scheduled requirements conducting planned maintenance on wind turbine control systems determining permit to work requirements diagnosing wind turbine control system faults, including interpreting fault codes and data complying with regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements planning for maintenance of wind turbine control systems work reassembling wind turbine control system components replacing wind turbine control system components testing wind turbine control system and components undertaking maintenance on wind turbine control systems.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

diagnosis techniques for wind turbine control system faults, including codes maintenance requirements for wind turbine control systems permit to work system reassembly techniques for wind turbine control system components regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements replacement techniques for wind turbine control system components tests for wind turbine control system and components WHS/OHS legislated requirements, including: emergency procedures hazard identification risk control measures safe working practices wind turbine generation control system types and characteristics workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8