# Assessment Requirements for UEPMNT011 Maintain wind turbine electrical systems

Release: 1

Assessment Requirements for UEPMNT011 Maintain wind turbine electrical systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing work in accordance with scheduled requirements conducting maintenance on wind turbine generator (WTG) electrical systems determining work to permit requirements identifying new components for use complying with regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements measuring, inspecting and recording WTG electrical system performing isolations planning for wind turbine electrical system work reassembling and readjusting equipment and components in wind turbine electrical systems undertaking diagnostic testing.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

analysis and diagnostic methods and tools component identification and replacement isolations maintenance of wind turbine electrical systems measurement techniques permit to work system regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements techniques for recognising wiring failure or potential for failure of wind turbine electrical system and components test requirements of wind turbine electrical system WHS/OHS legislated requirements, including: emergency procedures risk control measures hazard identification safe working practices wind turbine plant and its location at site wind turbine system types and characteristics workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8