# Assessment Requirements for UEPMNT014 Test and commission wind turbines

Release: 1

Assessment Requirements for UEPMNT014 Test and commission wind turbines

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing work in accordance with scheduled requirements determining permit to work requirements complying with regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements inspecting wind turbine system and wiring planning for testing and commissioning wind turbine work selecting materials testing and commissioning wind turbine system testing wind turbine systems equipment undertaking isolations using data analysis techniques and tools utilising tools and equipment.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

equipment and materials required installation, testing and commissioning practices isolations layout of wind farm plant, and operation of equipment permit to work system regulations, industry standards, legislative requirements, codes of practice, manufacturers’ recommendation and specifications, and environmental requirements test and measurement instruments and techniques for use types of wind turbines and wiring systems typical arrangements of wind farm power production plant wind turbine components and parts WHS/OHS legislated requirements, including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8