# UEPMNT014 Test and commission wind turbines

Release: 1

UEPMNT014 Test and commission wind turbines

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to conduct testing and commissioning of a wind turbine. Testing and commissioning of wind turbines includes the assessment and verification that all equipment and components are operating efficiently and are meeting operational requirements. Competency in this unit requires the ability to plan work, test systems equipment, test system and complete all work tasks. Individuals will, in general, work under supervision in an electrical, electronic and/or mechanical equipment repair workshop or on site. Licensing/Certification Information The application of the skills and knowledge described within this unit may require a licence/registration to practice in the workplace. Other conditions may also apply under State and Territory legislative and regulatory licencing requirements which must be confirmed prior to commencing this unit. For this unit persons must have one of the following as an entry requirement: Unrestricted Electrical Licence issued in an Australian State or Territory, or Electrical Fitter Occupational Licence issued in an Australian State or Territory, or UEEEL0028 Conduct compliance and functional verification of electrical apparatus and existing circuits, or UEEEL0039 Design, install and verify compliance and functionality of general electrical installations.

# Pre-requisite Unit

Not applicable

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Requirements, including scope of work and assigned roles, are identified and confirmed with appropriate personnel or by site inspection in accordance with workplace procedures |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, industry standards, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are reviewed in preparation for work |
|  |  | 1.3 | Resources are obtained and inspected for compliance with job specification |
|  |  | 1.4 | Relevant plans, drawings and manuals are selected and used in accordance with workplace procedures |
|  |  | 1.5 | Correct materials and components for work are obtained and inspected for compliance with job specification |
|  |  | 1.6 | Commissioning is planned, sequenced and prioritised in accordance with workplace procedures |
|  |  | 1.7 | Potential hazards are identified and risk control measures are implemented in accordance with workplace procedures |
|  |  | 1.8 | Work area is accessed and prepared in accordance with workplace procedures |
| 2 | Test system components | 2.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures |
|  |  | 2.2 | Wind turbine system components are visually inspected to ensure absence of any damage, defects and deterioration in accordance with workplace procedures and commissioning plan |
|  |  | 2.3 | Wind turbine system components are tested in conjunction with other related systems and equipment to ensure correct operation in accordance with workplace procedures and commissioning plan |
|  |  | 2.4 | Wind turbine wiring systems are checked and tested in conjunction with other related systems and equipment in accordance with workplace procedures and commissioning plan |
| 3 | Commission system | 3.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures |
|  |  | 3.2 | Wind turbine system, plant and components are set up and calibrated in accordance with workplace procedures, operational requirements, and manufacturers’ manufacturers’ recommendations and specifications |
|  |  | 3.3 | Wind turbine system is commissioned using appropriate plans, drawings and manuals in accordance with workplace procedures and commissioning plan |
|  |  | 3.4 | Wind turbine system is commissioned in conjunction with other related systems and equipment in accordance with workplace procedures and commissioning plan |
|  |  | 3.5 | Wind turbine components are commissioned in accordance with workplace procedures and commissioning plan |
|  |  | 3.6 | Faulty wind turbine components are repaired or reported in accordance with workplace procedures |
|  |  | 3.7 | Final inspection is carried out in accordance with workplace procedures and commissioning plan |
| 4 | Complete work | 4.1 | Wind turbine commissioning is completed and appropriate personnel are notified in accordance with workplace procedures |
|  |  | 4.2 | Work area is cleared of waste, cleaned, restored and secured in accordance with workplace procedures |
|  |  | 4.3 | Tools and equipment are maintained and stored in accordance with workplace procedures |
|  |  | 4.4 | Work completion details are finalised in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT450 Test and commission wind turbine generators.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8