# Assessment Requirements for UEPMNT202 Carry out routine work activities in an ESI large scale wind generation environment

Release: 1

Assessment Requirements for UEPMNT202 Carry out routine work activities in an ESI large scale wind generation environment

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures identifying hazards risk control measures safe working practices carrying out routine work activities including servicing and maintenance tasks checking results communicating with personnel completing work complying with legislation, industry standards, codes of practice and regulations interpreting manufactures’ specifications and manuals performing routine activities using Safety Data Sheets (SDS)/Material Safety Data Sheets (MSDS) preparing to undertake routine work activities using tools, resources, materials and personal protective equipment working with maintenance schedules

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

legislation, industry standards, codes of practice and regulations maintenance schedules manufacturers’ specifications and manuals workplace documentation routine work activities including servicing and maintenance tasks Safety Data Sheets (SDS)/Material Data Safety Sheets (MSDS) tools, resources, materials and personal protective equipment WHS/OHS legislated requirements including: emergency procedures identifying hazards risk control measures safe working practices wind generation, types and characteristics workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8