# UEPMNT317 Diagnose and repair faults in mechanical equipment

Release: 2

UEPMNT317 Diagnose and repair faults in mechanical equipment

# Modification History

Release 2. Minor release to update superseded pre-requisite units. Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to diagnose and repair faults in a range of mechanical equipment; this may entail work to be carried out whilst machinery or power generation plant is online. Diagnosing and repairing faults in mechanical equipment includes locating faults, overhauling equipment and/or fitting and adjusting mechanical equipment to meet power generation facility requirements. Competency in this unit requires the ability to plan work, verify mechanical equipment faults, find mechanical equipment faults, determine the cause of mechanical equipment faults, repair or rectify mechanical equipment faults and to report on all completed work tasks. Individuals will, in general, work under supervision in an electrical, electronic, and/or mechanical equipment repair workshop or on site. Power generation maintenance personnel are typically trained and authorised to receive permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit of competency may require a licence or training permit to practice in the workplace, where work is carried out on gas and electrical installations. Additional and/or other conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

MEM09002 Interpret technical drawing MEM12023 Perform engineering measurements MEM18001 Use hand tools MEM18002 Use power tools/hand held operations MEM18003 Use tools for precision work MEM18006 Perform precision fitting of engineering components MEM18055 Dismantle, replace and assemble engineering components

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Requirements including scope of work and assigned roles are identified and confirmed with appropriate personnel or by site inspection, in accordance with workplace procedures |
|  |  | 1.2 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations, legislative requirements, industry standards, codes of practice, manufacturers’ specifications, environmental obligations and workplace procedures are reviewed in preparation for work |
|  |  | 1.3 | Resources are obtained and inspected for compliance with workplace procedures |
|  |  | 1.4 | Relevant plans, drawings and manuals are selected and used, in accordance with workplace procedures |
|  |  | 1.5 | Correct materials and components for work are obtained and inspected, in accordance with workplace procedures, for compliance with job specifications |
|  |  | 1.6 | Work is planned, sequenced and prioritised, in accordance with workplace procedures |
|  |  | 1.7 | Potential hazards are identified and risk control measures are selected, in accordance with workplace procedures |
|  |  | 1.8 | Work area is prepared, in accordance with workplace procedures |
| 2 | Verify fault | 2.1 | Normal performance and function of mechanical equipment is ascertained by consulting manufacturers’ specifications and manuals, in accordance with workplace procedures |
|  |  | 2.2 | Fault indicators, technical information and diagnostic techniques are used to verify reported faults in accordance with workplace procedures |
|  |  | 2.3 | Faults are reproduced and monitored, if possible, in accordance with workplace procedures |
| 3 | Find fault | 3.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures |
|  |  | 3.2 | Fault finding is carried out with others, in accordance with workplace procedures |
|  |  | 3.3 | Mechanical equipment components, pipe work, fittings and support fixings are inspected for obvious faults, in accordance with workplace procedures |
|  |  | 3.4 | Test and measurement instruments are used, in accordance with workplace procedures and manufacturers’ specification |
| 4 | Determine cause of fault | 4.1 | Appropriate personnel are consulted, if required, about faulty mechanical equipment, in accordance with workplace procedures |
|  |  | 4.2 | Maintenance records on mechanical equipment are consulted, in accordance with workplace procedures |
|  |  | 4.3 | Conclusions about the nature and cause of the fault, based on analysis of evidence, are used, in accordance with workplace procedures |
| 5 | Repair fault | 5.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures site requirements |
|  |  | 5.2 | Faulty, worn, damaged or unsecured components are replaced or repaired, in accordance with workplace procedures |
|  |  | 5.3 | Parts and components are selected and replaced, as required, in accordance with workplace procedures and manufacturers’ specification |
|  |  | 5.4 | All faults are repaired or rectified, in accordance with the work plan |
|  |  | 5.5 | Final inspection is performed, in accordance with workplace procedures |
| 6 | Complete work | 6.1 | Work is completed and appropriate personnel are notified, in accordance with workplace procedures |
|  |  | 6.2 | Work area is cleared of waste, cleaned, restored and secured, in accordance with workplace procedures |
|  |  | 6.3 | Tools and equipment are cleaned, maintained and stored in accordance with workplace procedures |
|  |  | 6.4 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT317B Diagnose and repair faults in mechanical equipment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8