# UEPMNT319 Maintain and test fixed fire protection systems

Release: 1

UEPMNT319 Maintain and test fixed fire protection systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to conduct maintenance, fault finding and in-service testing of fixed fire protection systems. A fixed fire protection system is a set of components that detect a fire, alert personnel and/or occupants and extinguish the fire, they are actuated by smoke, flames or heat. Competency in this unit requires the ability to plan work, maintain fixed fire protection systems, conduct in-service testing and to report on all completed work tasks. Individuals will, in general, work under supervision in an electrical, electronic and/or mechanical equipment repair workshop or on site. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practices The application of the skills and knowledge described in this unit of competency may require a licence or training permit to practice in the workplace, where work is carried out on gas and electrical installations. Additional and/or other conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

UEENEEG108A Trouble shoot and repair faults in low voltage electrical apparatus and circuits UEENEEE102A Fabricate, assemble and dismantle utilities industry components UEENEEE104A Solve problems in D.C. circuits UEENEEE105A Fix and secure electrotechnology equipment UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications UEENEEG006A Solve problems in single and three phase low voltage machines UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits UEENEEG063A Arrange circuits, control and protection for general electrical installations UEENEEG101A Solve problems in electromagnetic devices and related circuits UEENEEG102A Solve problems in low voltage A.C. circuits UEENEEG106A Terminate cables, cords and accessories for low voltage circuits

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Requirements including scope of work and assigned roles are identified and confirmed with appropriate personnel or by site inspection, in accordance with workplace procedures |
|  |  | 1.2 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations, legislative requirements, industry standards, codes of practice, manufacturers’ specifications, environmental obligations and workplace procedures are reviewed for work preparation |
|  |  | 1.3 | Resources are obtained and inspected, in accordance with workplace procedures for compliance with job specifications |
|  |  | 1.4 | Relevant plans, drawings and manuals are selected and interpreted, in accordance with workplace procedures |
|  |  | 1.5 | Correct materials and components for work are obtained and inspected, in accordance with workplace procedures, for compliance with job specification |
|  |  | 1.6 | Work is planned, sequenced and prioritised, in accordance with workplace procedures |
|  |  | 1.7 | Potential hazards are identified and risk control measures are selected and implemented, in accordance with workplace procedures |
|  |  | 1.8 | Work area is prepared, in accordance with workplace procedures |
| 2 | Maintain fixed fire protection systems | 2.1 | Dismantling of fire protection system equipment is completed, in accordance with workplace procedures |
|  |  | 2.2 | Faulty components are repaired or overhauled, in accordance with workplace procedures and fire protection system requirements |
|  |  | 2.3 | Replacement equipment or items are inspected, in accordance with workplace procedures, to confirm compliance with fire protection system specifications |
|  |  | 2.4 | Modifications or alterations are undertaken, in accordance with workplace procedures and fire protection system requirements |
|  |  | 2.5 | Maintenance is performed, in accordance with workplace procedures and fire protection system requirements |
| 3 | Conduct in service testing | 3.1 | In-service testing is carried out, in accordance with workplace procedures and fire protection system requirements |
|  |  | 3.2 | In-service testing is carried out, in accordance with relevant statutory regulations |
|  |  | 3.3 | Abnormalities, faults and deviations from fire protection system specifications are logged and reported to appropriate personnel, in accordance with workplace procedures and legislative requirements |
| 4 | Complete work | 4.1 | Work is completed and appropriate personnel are notified, in accordance with workplace procedures |
|  |  | 4.2 | Work area is cleared of waste, cleaned, restored and secured, in accordance with workplace procedures |
|  |  | 4.3 | Tools and equipment are cleaned, maintained and stored, in accordance with workplace procedures |
|  |  | 4.4 | Work completion details are finalised, in accordance with workplace procedures |
|  |  | 4.5 | Work area is prepared, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT319B Maintain and test fixed fire protection systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8