# Assessment Requirements for UEPMNT340 Fabricate metal structures and components

Release: 2

Assessment Requirements for UEPMNT340 Fabricate metal structures and components

# Modification History

Release 2. Minor release to update superseded pre-requisite units. Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing work as per scheduling requirements determining permit to work requirements fabricating and assembling metal structures and components fabricating metal structures and components fabricating, assembling and installing structures and components implementing legislation, industry standards, codes of practices and regulations interpreting manufacturers’ specifications and manuals laying out and marking out metal structures and components making jigs and templates performing precision measurements planning for fabricating metal structures and components work reading technical drawings selecting materials and resources using tools and equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

assembly techniques distortion control fabrication of metal structures and components generation plant and equipment and its location jigs and templates legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals mechanical cutting, forming and shaping permit to work system sheet metal work technical drawings tools and equipment typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8