# UEPMNT352 Test and commission electronic electrical equipment

Release: 1

UEPMNT352 Test and commission electronic electrical equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to conduct testing and commissioning of electronic electrical equipment. Commissioning and testing is the process of ensuring all systems and components of a power generation facility’s electronic electrical equipment are meeting operational requirements. Competency in this unit requires the ability to plan work, test electronic electrical equipment wiring systems, testing electronic electrical equipment, commissioning electronic electrical equipment and to report on all completed work tasks. Individuals will, in general, work under supervision in an electrical, electronic and/or mechanical equipment repair workshop or on site. Power generation maintenance personnel are typically trained and authorised to receive permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit of competency may require a licence or training permit to practice in the workplace, where work is carried out on gas and electrical installations. Additional and/or other conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

UEENEEG108A Troubleshoot and repair faults in low voltage electrical apparatus and circuits UEENEEE102A Fabricate, assemble and dismantle utilities industry components UEENEEE104A Solve problems in D.C. circuits UEENEEE105A Fix and secure electrotechnology equipment UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications UEENEEG006A Solve problems in single and three phase low voltage machines UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits UEENEEG063A Arrange circuits, control and protection for general electrical installations UEENEEG101A Solve problems in electromagnetic devices and related circuits UEENEEG102A Solve problems in low voltage A.C. circuits UEENEEG106A Terminate cables, cords and accessories for low voltage circuits

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Requirements including scope of work and assigned roles are identified and confirmed with appropriate personnel or by site inspection, in accordance with workplace procedures |
|  |  | 1.2 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations, legislative requirements, industry standards, codes of practice, manufacturers’ specifications, environmental obligations and workplace procedures are reviewed in preparation for work |
|  |  | 1.3 | Resources are obtained and inspected for compliance with job specification |
|  |  | 1.4 | Relevant plans, drawings and manuals are selected and used, in accordance with workplace procedures |
|  |  | 1.5 | Correct materials and components for work are obtained and inspected, in accordance with workplace procedures, for compliance with job specification |
|  |  | 1.6 | Work is planned, sequenced and prioritised, in accordance with workplace procedures |
|  |  | 1.7 | Potential hazards are identified, and risk control measures are selected and implemented, in accordance with workplace procedures |
|  |  | 1.8 | Work area is prepared, in accordance with workplace procedures |
| 2 | Test electronic electrical wiring systems | 2.1 | Isolations for work are confirmed, in accordance with workplace procedures |
|  |  | 2.2 | Electronic electrical wiring systems are tested using appropriate plans, drawings and manuals, in accordance with workplace procedures |
|  |  | 2.3 | Electronic electrical wiring systems, including enclosures and/or supports, are inspected, in accordance with workplace procedures, prior to testing to ensure absence of damage, defects or deterioration |
|  |  | 2.4 | Fixed electronic electrical wiring is tested, as appropriate, and results are documented to confirm compliance with job specification |
| 3 | Test electronic electrical equipment | 3.1 | Isolations are confirmed, in accordance with workplace procedures site requirements |
|  |  | 3.2 | Electronic electrical equipment is tested using appropriate plans, drawings and manuals, in accordance with workplace procedures |
|  |  | 3.3 | Test conditions are confirmed and equipment is inspected, in accordance with workplace procedures, to ensure absence of any damage, defects or deterioration |
|  |  | 3.4 | Electronic electrical equipment is tested using appropriate testing techniques, in accordance with workplace procedures |
|  |  | 3.5 | Electronic electrical equipment test results are documented to confirm compliance with job specification |
| 4 | Commission electronic electrical equipment | 4.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures and site requirements |
|  |  | 4.2 | Electronic electrical equipment is commissioned using appropriate plans, drawings and manuals, in accordance with workplace procedures |
|  |  | 4.3 | Electronic electrical equipment is set up, in accordance with workplace procedures, operational requirements and manufacturers’ specifications |
|  |  | 4.4 | Testing and monitoring procedures are followed, and results are documented to ensure equipment operates within manufacturers’ specifications |
|  |  | 4.5 | Final inspection is carried out, in accordance with workplace procedures |
| 5 | Complete work | 5.1 | Work is completed and appropriate personnel are notified, in accordance with workplace procedures |
|  |  | 5.2 | Work area is cleared of waste, cleaned, restored and secured in accordance with workplace procedures |
|  |  | 5.3 | Tools and equipment are cleaned, maintained and stored, in accordance with workplace procedures |
|  |  | 5.4 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT352B Test and commission electronic electrical equipment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPMNT352 Test and commission electronic electrical equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices commissioning electronic electrical equipment using commissioning procedures communicating with personnel completing work as per scheduling arrangements determining permit to work system implementing legislation, industry standards, codes of practice and regulations inspecting, testing and monitoring electronic electrical equipment and wiring systems interpreting manufacturers’ specifications and manuals planning for testing and commissioning electronic electrical equipment work selecting materials testing electronic electrical equipment using testing techniques testing electronic electrical equipment wiring systems using tools and relevant equipment utilising test and measurement instruments working with data analysis techniques and tools

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

electronic electrical equipment and its operation equipment and materials isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system plant and equipment and its location test and commission techniques test and measurement instruments typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8