# Assessment Requirements for UEPMNT402 Conduct complex levelling and alignment

Release: 2

Assessment Requirements for UEPMNT402 Conduct complex levelling and alignment

# Modification History

Release 2. Minor release to update superseded pre-requisite units. Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures identifying hazards risk control measures safe working practices calculating and applying adjustment techniques communicating with personnel completing work as per scheduled requirements determining permit to work requirements implementing legislation, industry standards, codes of practice and regulations operating precision measuring equipment performing alignment performing complex levelling and aligning principles whilst working to precise tolerances planning to conduct complex levelling and alignment work undertaking isolations using manufacturers’ specifications and manuals utilising testing and inspection techniques working with technical drawings

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

calculations for alignment and levelling adjustments complex levelling and aligning practices inspection and testing methods isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work requirements power generation plant and equipment, its location and operation precision measuring equipment technical drawings tolerances typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures identifying hazards risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8