# UEPMNT403 Maintain complex mechanical valves

Release: 2

UEPMNT403 Maintain complex mechanical valves

# Modification History

Release 2. Minor release to update superseded pre-requisite units. Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to undertake fault finding, diagnosis, repair or overhaul of complex mechanical valves, excluding associated servo or actuating units. A fault is defined as an abnormal condition or defect of a mechanical valve which may lead to a failure in power generation facility equipment, systems and/or plant. Diagnosis and repair requires the identification of the type of fault, its cause and the determination of repair actions. Competency in this unit requires the ability to plan work, remove mechanical valves for maintenance, perform mechanical valve maintenance, replace and/or install valves and to report on all completed work tasks. Individuals will, in general, work under supervision in an electrical, electronic and/or mechanical equipment repair workshop or on site. Power generation maintenance personnel are typically trained and authorised to receive permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit of competency may require a licence or training permit to practice in the workplace, where work is carried out on gas and electrical installations. Additional and/or other conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

MEM09002 Interpret technical drawing MEM12023 Perform engineering measurements MEM18001 Use hand tools MEM18002 Use power tools/hand held operations MEM18003 Use tools for precision work MEM18006 Perform precision fitting of engineering components MEM18055 Dismantle, replace and assemble engineering components UEPMNT303 Maintain mechanical valves

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Requirements including scope of work and assigned roles are identified and confirmed with appropriate personnel or by site inspection, in accordance with workplace procedures |
|  |  | 1.2 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations, legislative requirements, industry standards, codes of practice, manufacturer specifications, environmental obligations and workplace procedures are reviewed in preparation for work |
|  |  | 1.3 | Resources are obtained and inspected for compliance with job specification |
|  |  | 1.4 | Relevant plans, drawings and manuals are selected and used, in accordance with workplace procedures |
|  |  | 1.5 | Correct materials and components for work are obtained and inspected, in accordance with workplace procedures, for compliance with job specification |
|  |  | 1.6 | Work is planned, sequenced and prioritised, in accordance with workplace procedures |
|  |  | 1.7 | Potential hazards are identified and risk control measures are selected and implemented, in accordance with the workplace procedures |
|  |  | 1.8 | Work area is prepared, in accordance with workplace procedures |
| 2 | Remove complex mechanical valves for maintenance | 2.1 | Isolations for work are confirmed, in accordance with workplace procedures |
|  |  | 2.2 | Complex mechanical valve is disconnected, in accordance with workplace procedures |
|  |  | 2.3 | Complex mechanical valve is removed, in accordance with workplace procedures |
|  |  | 2.4 | Complex mechanical valve is inspected for abnormalities, in accordance with workplace procedures |
| 3 | Perform complex mechanical valve maintenance | 3.1 | Maintenance is performed, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 3.2 | Complex mechanical valve is dismantled, clearly marked for identification and sketches are drawn, in accordance with workplace procedures |
|  |  | 3.3 | Components are prepared for reassembly, in accordance with workplace procedures, manufacturers’ drawings or manuals |
|  |  | 3.4 | New components are inspected, in accordance with workplace procedures, to ensure compliance with manufacturers’ specifications |
|  |  | 3.5 | Dimensional inspection is performed, in accordance with workplace procedures, using precision measuring devices to ensure compliance with manufacturers’ specifications |
|  |  | 3.6 | Components are reassembled for testing, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 3.7 | Modifications or alterations are undertaken, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 3.8 | Components are levelled, aligned, coupled and connected, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 3.9 | Complex mechanical valves are pressure tested, monitored and adjusted, in accordance with workplace procedures and manufacturers’ specifications |
| 4 | Replace or install complex mechanical valves | 4.1 | Equipment is prepared for valve replacement, in accordance with workplace procedures |
|  |  | 4.2 | Complex mechanical valve is replaced, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 4.3 | Complex mechanical valve is connected, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 4.4 | Final inspection is completed, in accordance with workplace procedures |
| 5 | Complete work | 5.1 | Work is completed and appropriate personnel are notified, in accordance with workplace procedures |
|  |  | 5.2 | Work area is cleared of waste, cleaned, restored and secured, in accordance with workplace procedures |
|  |  | 5.3 | Tools and equipment are cleaned, maintained and stored, in accordance with workplace procedures |
|  |  | 5.4 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT403B Maintain complex mechanical valves.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8