# UEPMNT407 Repair a gas turbine unit

Release: 1

UEPMNT407 Repair a gas turbine unit

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to undertake the repair of compressors, turbines and associated equipment on gas turbine units. The repair of compressors, turbines and associated equipment on gas turbine units ensures the restoration of any broken, damaged or failed devices, equipment or parts of a gas turbine unit to an acceptable operating condition. Competency in this unit requires the ability to plan work, disassemble gas turbine, inspect gas turbine components, repair gas turbine and components, reassemble gas turbine and complete all work tasks. Individuals will, in general, work under supervision in an electrical, electronic and/or mechanical equipment repair workshop/area Power generation maintenance personnel are typically trained and authorised to receive permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit of competency may require a licence or training permit to practice in the workplace, where work is carried out on gas and electrical installations. Additional and/or other conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

UEPMNT402 Conduct complex levelling and alignment MEM18009B Perform levelling and alignment of machines and engineering components MEM09002B Interpret technical drawing MEM12023A Perform engineering measurements MEM18001C Use hand tools MEM18002B Use power tools/hand held operations MEM18003C Use tools for precision work MEM18055B Dismantle, replace and assemble engineering components MEM18006C Repair and fit engineering components

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Requirements including scope of work and assigned roles are identified and confirmed with appropriate personnel or by site inspection, in accordance with workplace procedures |
|  |  | 1.2 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations, legislative requirements, industry standards, codes of practice, manufacturers’ specifications, environmental obligations and workplace procedures are reviewed in preparation for work |
|  |  | 1.3 | Resources are obtained and inspected for compliance with job specification |
|  |  | 1.4 | Relevant plans, drawings and manuals are selected and used, in accordance with workplace procedures |
|  |  | 1.5 | Correct materials and components for work are obtained and inspected for compliance with job specification |
|  |  | 1.6 | Work is planned, sequenced and prioritised, in accordance with workplace procedures |
|  |  | 1.7 | Potential hazards are identified and risk control measures are selected and implemented, in accordance with workplace procedures |
|  |  | 1.8 | Work area is prepared, in accordance with workplace procedures |
| 2 | Disassemble gas turbine | 2.1 | Isolations for work are confirmed, in accordance with workplace procedures |
|  |  | 2.2 | Gas turbine is disassembled, in accordance with manufacturers’ specifications and workplace procedures |
|  |  | 2.3 | Gas turbine components are removed, in accordance with manufacturers’ specifications and workplace procedures |
|  |  | 2.4 | Gas turbine disassembly is carried out to facilitate reassembly, in accordance with workplace procedures |
|  |  | 2.5 | Components are measured, and clearances taken, to determine conformity to manufacturers’ limits, and to ensure assembly is in accordance with manufacturers’ specifications |
|  |  | 2.6 | Measurements and clearances are recorded, in accordance with manufacturers’ specifications and workplace procedures |
| 3 | Inspect gas turbine components | 3.1 | Components are cleaned and inspected, in accordance with workplace procedures |
|  |  | 3.2 | Faults are identified and recorded, in accordance with workplace procedures |
|  |  | 3.3 | New components are inspected for compliance to manufacturers’ specifications, in accordance with workplace procedures |
|  |  | 3.4 | Components are prepared for assembly, in accordance with workplace procedures |
| 4 | Repair gas turbine or components | 4.1 | Repairs are carried out, in accordance with workplace procedures |
|  |  | 4.2 | Repairs are tested and results are analysed to ensure conformance to manufacturers’ specifications, in accordance with workplace procedures |
|  |  | 4.3 | Data from testing is recorded, in accordance with workplace procedures |
| 5 | Reassemble gas turbine | 5.1 | Equipment and plant is prepared for reassembly of gas turbine, in accordance with workplace procedures |
|  |  | 5.2 | Components are refitted, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 5.3 | Gas turbine is assembled, in accordance with workplace procedures and manufacturers’ specifications |
|  |  | 5.4 | Gas turbine is test run and operating characteristics are monitored to ensure compliance with manufacturers specifications, in accordance with workplace procedures |
| 6 | Complete work | 6.1 | Work is completed and appropriate personnel are notified, in accordance with workplace procedures |
|  |  | 6.2 | Work area is cleared of waste, cleaned, restored and secured in accordance with workplace procedures |
|  |  | 6.3 | Tools and equipment are maintained and stored in accordance with workplace procedures |
|  |  | 6.4 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT407B Install and maintain a gas turbine.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPMNT407 Repair a gas turbine unit

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures identify hazardous materials risk control measures safe working practices assembling and disassembling sequentially communicating with personnel completing work as per scheduled requirements determining permit to work requirements diagnosing and testing using precise measuring equipment disassembling gas turbine using disassembly techniques identifying components implementing legislation, industry standards, codes of practice and regulations inspecting gas turbine components using inspection and fault diagnosis techniques repair gas turbine and components using repair and maintenance techniques reassemble gas turbine using reassembly techniques interpreting manufacturers’ specifications and manuals planning for repair of gas turbine unit work recognising worn, damaged or faulty components using maintenance techniques working to fine tolerances

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

diagnostic and testing techniques disassembly and reassembly methods and techniques gas turbines, types and characteristics inspection and fault diagnosis methods and techniques legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system power generation plant and equipment, its location and operation precision measuring equipment repair and maintenance techniques typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures identify hazardous materials risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8