# UEPMNT417 Inspect electrical generators and diagnose faults

Release: 2

UEPMNT417 Inspect electrical generators and diagnose faults

# Modification History

Release 2. Minor release to update superseded pre-requisite units. Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to conduct inspections and diagnose faults in electrical generators. An inspection is a critical appraisal involving the examination, measurement, testing, gauging, and comparison of electrical generator components and parts. An inspection will determine if an electrical generator is in a safe and reliable working condition and if it conforms to the manufactures’ specifications. Competency in this unit requires the ability to plan work, carry out electrical generator inspections, evaluate and analyse inspection results, prepare remedial action plans and update documentation. Individuals will, in general, work under supervision in an electrical, electronic and/or mechanical equipment repair workshop or on site. Power generation maintenance personnel are typically trained and authorised to receive permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit of competency may require a licence or training permit to practice in the workplace, where work is carried out on gas and electrical installations. Additional and/or other conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

UEECD0019 Fabricate, assemble and dismantle utilities industry components UEECD0020 Fix and secure electrotechnology equipment UEECD0043 Solve problems in direct current circuits UEECD0051 Use drawings, diagrams, schedules, standards, codes and specifications UEEEL0003 Arrange circuits, control and protection for general electrical installations UEEEL0011 Evaluate performance of low voltage electrical apparatus UEEEL0014 Isolate, test and troubleshoot low voltage electrical circuits UEEEL0020 Solve problems in low voltage A.C. circuits UEEEL0021 Solve problems in magnetic and electromagnetic devices UEEEL0023 Terminate cables, cords and accessories for low voltage circuits UEEEL0024 Test and connect alternating current (a.c.) rotating machines UEEEL0025 Test and connect transformers UEPMNT351 Test and commission electrical equipment

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Maintenance and operating history of electrical generator is obtained and reviewed, in accordance with workplace procedures |
|  |  | 1.2 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) standards, legislative requirements, industry standards, codes of practice, manufacturers’ specifications and workplace procedures are reviewed in preparation for work |
|  |  | 1.3 | Inspection of electrical generator is planned, sequenced and prioritised, in accordance with workplace and technical procedures |
|  |  | 1.4 | Resources are obtained and inspected for compliance with job specification |
|  |  | 1.5 | Relevant plans, drawings and manuals are selected and used, in accordance with workplace procedures |
|  |  | 1.6 | Potential hazards are identified and risk control measures are selected and implemented, in accordance with workplace procedures and inspection plan |
| 2 | Carry out generator inspection | 2.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures |
|  |  | 2.2 | Electrical generator is inspected using appropriate manuals, drawings and manuals, in accordance with workplace procedures |
|  |  | 2.3 | Additional tests or inspections, if required, are identified and completed, in accordance with workplace procedures |
|  |  | 2.4 | Final inspection is carried out, in accordance with workplace procedures |
| 3 | Evaluate and analyse inspection results | 3.1 | Test or inspection results and data are analysed, in accordance with workplace procedures |
|  |  | 3.2 | Specialist assistance is sought, if required, on completion of analysis |
| 4 | Prepare remedial action plan | 4.1 | Remedial action plan, if required, is prepared, in accordance with workplace procedures |
|  |  | 4.2 | Remedial actions are followed up, in accordance with workplace procedures, and are checked by appropriate personnel |
| 5 | Update documentation | 5.1 | Relevant records and documentation are updated, in accordance with workplace procedures |
|  |  | 5.2 | Reports and documentation are forwarded to appropriate personnel, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT417B Inspect electrical generators and diagnose faults.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8