# Assessment Requirements for UEPMNT431 Test and commission electronic instrumentation equipment

Release: 1

Assessment Requirements for UEPMNT431 Test and commission electronic instrumentation equipment

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices commissioning electronic instrumentation equipment using commissioning techniques and procedures communicating with personnel completing work and finalising completion details determining permit to work requirements employing testing and measurement instruments implementing regulations, industry standards, codes of practice and regulations inspecting and monitoring equipment interpreting manufacturers' specifications and manuals performing instrument calibration techniques planning for testing and commissioning of electronic instrumentation equipment work selecting materials testing electronic instrumentation wiring systems, piping and tubing systems and electronic instrumentation equipment using tools and equipment utilising testing and isolation techniques working with data analysis techniques and tools

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

electronic instrumentation equipment equipment and materials generation plant and equipment, its location and operation installing electronic equipment instrument calibration techniques isolations legislation, industry standards, codes of practice and regulations manufacturers' specifications and manuals operational requirements of equipment permit to work system test and commission techniques test and measurement instruments typical arrangements of power production plant WHS/OHS legislated requirements including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8