# Assessment Requirements for UEPMNT436 Test and commission wind turbine control systems

Release: 1

Assessment Requirements for UEPMNT436 Test and commission wind turbine control systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing work as per scheduled requirements determining permit to work requirements implementing legislation, industry standards, codes of practice and regulations inspecting and testing wind turbine control system wiring interpreting technical drawings, manufacturers' specifications and manuals planning for testing and commissioning of wind turbine control systems work selecting materials testing wind turbine control system using test and measurement instruments commissioning wind turbine control system testing, inspect and monitor wind turbine control systems equipment using data analysis techniques and tools utilising tools and equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

equipment and materials isolations layout of wind farm plant, and operation of equipment legislation, industry standards, codes of practice and regulations manufacturers' specifications and manuals permit to work system test and measurement instruments typical arrangements of wind farm power production plant WHS/OHS legislated requirements including: emergency procedures risk control measures hazard identification safe working practices wind farm control systems and equipment wind turbine control system commissioning wind turbine control system tests wiring system tests workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8