# Assessment Requirements for UEPMNT447 Diagnose and repair faults in wind turbine generator electrical systems

Release: 1

Assessment Requirements for UEPMNT447 Diagnose and repair faults in wind turbine generator electrical systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel determining permit to work requirements gathering data including faulty indicators, error codes and sensory data implementing legislation, industry standards, codes of practice and regulations interpreting data to establish theory about wind turbine generator electrical system faults recording wind turbine generator electrical system faults removing and repairing wind turbine generator electrical system faults tagging and storing faulty wind turbine generator electrical system parts testing wind turbine generator electrical system undertaking risk analysis using manufacturers’ specifications and manuals utilising safety precautions verifying faults

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

fault diagnosis and verification installation and/or repair of wind turbine generator electrical system isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system risk analysis safety precautions tag and storage of faulty wind turbine generator electrical system parts techniques for replacing damaged wiring WHS/OHS legislated requirements including: emergency procedures risk control measures hazard identification safe working practices wind turbine generator electrical system testing workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8