# Assessment Requirements for UEPMNT448 Diagnose and repair faults in wind turbine generator control systems

Release: 1

Assessment Requirements for UEPMNT448 Diagnose and repair faults in wind turbine generator control systems

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel determining permit to work requirements gathering data implemented legislation, industry standards, codes of practice and regulations interpreting data to establish theory about wind turbine generator control system faults interpreting fault code and similar data produced by control system monitoring recording wind turbine generator control system faults removing and repairing wind turbine generator control system faults tagging and storing faulty wind turbine generator control system parts testing wind turbine generator control system undertaking risk analysis using manufacturers’ specifications and manuals utilising safety precautions verifying faults

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

data collection fault codes and indicators from wind turbine generator control equipment fault diagnosis and verification installation and/or repair isolations legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals permit to work system risk analysis safety precautions sensor data analysis tag and storage of faulty wind turbine generator control system parts techniques for replacing damaged wiring tests for wind turbine generator control system WHS/OHS legislated requirements including: emergency procedures hazard identification risk control measures safe working practices wind turbine generator control system, types and characteristics workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8