# UEPMNT450 Test and commission wind turbine generators

Release: 1

UEPMNT450 Test and commission wind turbine generators

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Application

This unit involves the skills and knowledge required to conduct testing and commissioning of a wind turbine generator. Testing and commissioning of wind turbine generators includes the assessment and verification that all equipment and components are operating efficiently and are meeting operational requirements. Competency in this unit requires the ability to plan work, test systems equipment, test system and complete all work tasks. Individuals will, in general, work under supervision in an electrical, electronic and/or mechanical equipment repair workshop or on site. Power generation maintenance personnel are typically trained and authorised to receive permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication. Note: Workplace practice The application of the skills and knowledge described in this unit of competency may require a licence or training permit to practice in the workplace, where work is carried out on gas and electrical installations. Additional and/or other conditions may apply under state and territory legislative and regulatory licensing requirements.

# Pre-requisite Unit

UEPMNT371 Maintain large scale wind turbine generators UEPMNT444 Maintain wind turbine generator mechanical systems UEPMNT443 Maintain wind turbine generator control systems UEPMNT448 Diagnose and repair faults in wind turbine generator control systems UEPMNT449 Diagnose and repair mechanical systems faults in wind turbine generators UEPMNT445 Diagnose and repair faults in large scale wind turbine generators UEENEEG108A Troubleshoot and repair faults in low voltage electrical apparatus and circuits UEENEEE102A Fabricate, assemble and dismantle utilities industry components UEENEEE104A Solve problems in D.C. circuits UEENEEE105A Fix and secure electrotechnology equipment UEENEEE107A Use drawings, diagrams, schedules, standards, codes and specifications UEENEEG006A Solve problems in single and three phase low voltage machines UEENEEG033A Solve problems in single and three phase low voltage electrical apparatus and circuits UEENEEG063A Arrange circuits, control and protection for general electrical installations UEENEEG101A Solve problems in electromagnetic devices and related circuits UEENEEG102A Solve problems in low voltage A.C. circuits UEENEEG106A Terminate cables, cords and accessories for

# Competency Field

Maintenance

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Requirements including scope of work and assigned roles are identified and confirmed with appropriate personnel or by site inspection, in accordance with workplace procedures |
|  |  | 1.2 | Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) regulations, legislative requirements, industry standards, codes of practice, manufacturers’ specifications, environmental obligations and workplace procedures are reviewed in preparation for work |
|  |  | 1.3 | Resources are obtained and inspected for compliance with job specification |
|  |  | 1.4 | Relevant plans, drawings and manuals are selected and used, in accordance with workplace procedures |
|  |  | 1.5 | Correct materials and components for work are obtained and inspected for compliance with job specification |
|  |  | 1.6 | Commissioning is planned, sequenced and prioritised, in accordance with workplace procedures |
|  |  | 1.7 | Potential hazards are identified and risk control measures are implemented, in accordance with workplace procedures |
|  |  | 1.8 | Work area is accessed and prepared, in accordance with workplace procedures |
| 2 | Test systems equipment | 2.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures |
|  |  | 2.2 | Wind turbine generator system equipment is visually inspected to ensure absence of any damage, defects and deterioration, in accordance with workplace procedures and commissioning plan |
|  |  | 2.3 | Wind turbine generator system equipment is tested, in conjunction with other related systems and equipment, to ensure correct operation, in accordance with workplace procedures and commissioning plan |
|  |  | 2.4 | Wind turbine generator wiring systems are checked and tested, in conjunction with other related systems and equipment, in accordance with workplace procedures and commissioning plan |
| 3 | Test system | 3.1 | Isolations are confirmed, where appropriate, in accordance with workplace procedures |
|  |  | 3.2 | Wind turbine generator system, plant and equipment are set up and calibrated, in accordance with workplace procedures, operational requirements and manufacturers’ specifications |
|  |  | 3.3 | Wind turbine generator system is commissioned using appropriate plans, drawings and manuals, in accordance with workplace procedures and commissioning plan |
|  |  | 3.4 | Wind turbine generator system is commissioned, in conjunction with other related systems and equipment, in accordance with workplace procedures and commissioning plan |
|  |  | 3.5 | Wind turbine generator equipment is commissioned, in accordance with workplace procedures and commissioning plan |
|  |  | 3.6 | Faulty wind turbine generator equipment is repaired or reported, in accordance with workplace procedures |
|  |  | 3.7 | Final inspection is carried out, in accordance with workplace procedures and commissioning plan |
| 4 | Complete work | 4.1 | Wind turbine generator commissioning is completed and appropriate personnel are notified, in accordance with workplace procedures |
|  |  | 4.2 | Work area is cleared of waste, cleaned, restored and secured, in accordance with workplace procedures |
|  |  | 4.3 | Tools and equipment are maintained and stored, in accordance with workplace procedures |
|  |  | 4.4 | Work completion details are finalised, in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPMNT450A Test and commission wind turbine generators.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPMNT450 Test and commission wind turbine generators

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least two separate occasions and includes:

applying Work, Health and Safety (WHS)/Occupational Health and Safety (OHS) requirements including: emergency procedures hazard identification risk control measures safe working practices communicating with personnel completing work as per scheduled requirements determining permit to work requirements implementing legislation, industry standards, codes of practice and regulations inspecting wind turbine generator system and wiring planning for testing and commissioning wind turbine generator work selecting materials testing and commissioning wind turbine generator system testing wind turbine generator systems equipment undertaking isolations using data analysis techniques and tools using manufacturers’ specifications and manuals utilising tools and equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

equipment and materials required installation, testing and commissioning practices isolations layout of wind farm plant, and operation of equipment legislation, industry standards, codes of practice and regulations manufacturers’ specifications and manuals manufacturers’ wind turbine generator components and parts permit to work system test and measurement instruments and techniques for use types of wind turbine generators and wiring systems typical arrangements of wind farm power production plant WHS/OHS legislated requirements including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment currently used in industry applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8