# Assessment Requirements for UEPOPL001 Licence to operate a steam turbine

Release: 1

Assessment Requirements for UEPOPL001 Licence to operate a steam turbine

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Generation Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions on at least one occasion and includes:

communicating effectively and working safely with others in the work area completing verification of problems and steam turbine equipment faults and demonstrating appropriate response procedures compliance with Commonwealth, state or territory regulations for the acquisition of a high risk work licence for steam turbine operation compliance with legislation, regulations, standards, codes of practice and established safe practices and procedures for starting, operating, shutting down and maintaining a steam turbine compliance with organisational and site policies and procedures including quality requirements and state or territory legislation applicable to workplace operations compliance with WHS and environmental regulations, policies and procedures controlling and monitoring any ancillary equipment which may be connected or interfaced to the steam turbine recording accurately and maintaining information related to operation of a steam turbine identifying hazards associated with the operation of the steam turbine and put in place effective hazard controls for those hazards identified performing efficiently and safely when starting, operating, shutting down and maintaining a steam turbine starting up, monitoring and shutting down a steam turbine effectively which meets the definition of this licence class undertaking diagnostic and testing techniques as applied to steam turbines using appropriate communication techniques with colleagues and others utilising relevant tools and equipment

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements, performance criteria and range of conditions and includes knowledge of:

basic principles of heat transfer and thermodynamics Commonwealth, state or territory WHS legislation, regulations, standards and codes of practice relevant to the full range of techniques for operating steam turbines confined space awareness and the limits for entry into a confined space environmental protection requirements relating to the disposal of waste material and storage of environmentally hazardous materials established communication channels and protocols in the workplace organisational and workplace standards, requirements, policies and procedures for starting, operating, shutting down and maintaining a steam turbine procedures for the recording, reporting and maintenance of workplace records and information safety data sheets and material handling methods steam turbine capabilities and components steam turbine fault finding and problem solving techniques steam turbine operations and operating techniques steam turbine safety devices and testing techniques steam turbine speed control equipment system components and their interaction with other plant and equipment. typical routine problems encountered in the process and with equipment and adjustments required for correction understanding of the hierarchy of hazard identification and control

# Assessment Conditions

Assessments must be conducted by an assessor accredited for this High Risk Work (HRW) licence class in the Commonwealth, state or territory where the licence will be obtained (i.e. an assessor authorised by a Commonwealth, state or territory WHS/OHS regulator). As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment of performance must be undertaken in the workplace and/or under realistic workplace conditions which typically reflect: performing tasks and activities within timelines that would be expected in a workplace standard and authorised work practices, safety requirements and environmental constraints using full scale equipment The use of simulators in the assessment of this unit of competency is acceptable. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools and equipment used in industry including: Personal Protective Equipment (PPE) for performance assessment appropriate safety equipment in safe condition appropriate steam turbine and associated equipment in safe condition communication equipment, as required, applicable documentation including workplace procedures, industry standards, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8