# Assessment Requirements for UEPOPS001 Analyse single protection device operation

Release: 1

Assessment Requirements for UEPOPS001 Analyse single protection device operation

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry –Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices communicating with stakeholders completing documentation implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting and analysing cause of electrical and mechanical single protection devices operation interpreting and determining cause of single protection device operations responding to electrical and mechanical single protection device operations responding to single protection device operations restoring electrical and mechanical single protection device status restoring single protection devices using manuals.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

alarms and flags raised by single protection devices causes of single protection devices operation fault-finding methods and tools manuals regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements resetting and restoring electrical and mechanical protection single protection devices single protection systems and schemes, including electrical and mechanical protection stakeholder communication types of electrical and mechanical faults WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8