# Assessment Requirements for UEPOPS013 Conduct operational checks and carry out corrective action on in-service electrical plant

Release: 1

Assessment Requirements for UEPOPS013 Conduct operational checks and carry out corrective action on in-service electrical plant

# Modification History

Release 1. This is the first release of this unit of competency in the UEPUEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices carrying out in-service electrical checks communicating with personnel completing work determining and completing corrective actions using data analysis techniques and tools finalising documentation using recording procedures identifying electrical in-service plant status implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting power generation plant drawings and manuals maintaining electrical in-service plant integrity performing isolations planning for electrical in-service plant checks preparing electrical in-service plant or equipment for operational check recognising abnormal electrical in-service plant operating conditions recognising remote indication of plant status and conditions working with permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant electrical in-service plant and equipment, location and operating parameters electrical in-service plant drawings electrical in-service plant status isolations manuals modification techniques permit to work system regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8