# Assessment Requirements for UEPOPS019 Control electrical energy production

Release: 1

Assessment Requirements for UEPOPS019 Control electrical energy production

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry – Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

analysing electrical energy production plant faults using diagnostic and testing techniques applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices completing documentation controlling generation of electrical energy production directing the operation of interacting systems, electrical energy production plant and equipment identifying electrical energy production plant status implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals maintaining generator unit integrity monitoring electrical energy production unit operations operating generator and excitation system organising resources planning for electrical energy production plant operation reviewing electrical energy production plant operation using data analysis techniques and tools undertaking corrective actions.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

analysis of electrical energy production plant faults arrangements of power generating production plant control of electrical energy generation production electrical energy production plant and equipment, location and operating parameters electrical energy production plant operation monitoring electrical energy production unit operations generator and system stability, including system components and interactions generator excitation and cooling system types and characteristics manuals operation of generator and excitation systems regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8