# UEPOPS021 Control permit to work operations

Release: 1

UEPOPS021 Control permit to work operations

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to perform work in association with a permit system. Permits to work are a formal system used to control high-risk activities in power generation facilities. They specify the control measures to be used. Permits ensure that all hazards and precautions have been considered before any hazardous work begins. Competency in this unit requires the ability to plan and prepare for permit to work procedures, perform permit duties and complete work. Individuals will, in general, work as an operator, in a power generation facility. Power generation plant operators are trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

There are no prerequisite units

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for permit to work procedures | 1.1 | Work requirements, including permits, are identified from relevant personnel and documentation in accordance with workplace procedures |
|  |  | 1.2 | Information and documentation related to controlling permit to work requirements is obtained in accordance with workplace procedures |
|  |  | 1.3 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.4 | Power generation plant is identified in accordance with workplace procedures |
|  |  | 1.5 | Consultation with key stakeholders to identify state of power generation plant, isolations and maintenance timetable is confirmed in accordance with workplace procedures |
| 2 | Perform permit duties | 2.1 | Permit is obtained and work requirements is confirmed in accordance with workplace procedures |
|  |  | 2.2 | Isolations, barriers and taggings are confirmed in accordance with permit requirements and workplace procedures |
|  |  | 2.3 | Permit requirements are clarified to personnel involved in and affected by work in accordance with workplace procedures |
|  |  | 2.4 | Personnel involved in work tasks are signed on to permits prior to commencement of work in accordance with workplace procedures |
|  |  | 2.5 | Permit conditions are monitored and controlled throughout work sequence in accordance with workplace procedures |
| 3 | Complete work | 3.1 | Power generation plant is inspected and returned to normal operation in accordance with workplace procedures |
|  |  | 3.2 | Staff signed on to permit are signed off in accordance with workplace procedures |
|  |  | 3.3 | Work is completed and relevant personnel are notified in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS430 Control permit to work operations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8