# Assessment Requirements for UEPOPS022 Coordinate and direct switching program

Release: 1

Assessment Requirements for UEPOPS022 Coordinate and direct switching program

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation coordinating and directing switching programs identifying power generation plant status, including: monitoring network system integrity and stability analysing system operational information recognising abnormal power generating plant and network system operating conditions determining corrective actions implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting power generation plant drawings and network system diagrams liaising with stakeholders maintaining dynamic integrity of power generation system preparing for switching program using manuals utilising contingency plans working with permit to work system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and includes knowledge of:

arrangements of power production plant, including: corrective actions power generation plant and equipment, location and operating parameters power generation plant status switchgear types and characteristics systems network contingency plans coordination and direction of switching programs permit to work system plant drawings, network system diagrams, and manuals power generation network system diagrams power generation system integrity and stability monitoring processes and procedures preparations for switching programs regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements stakeholder liaison switching operation processes and procedures WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8