# Assessment Requirements for UEPOPS030 Coordinate power generation

Release: 1

Assessment Requirements for UEPOPS030 Coordinate power generation

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

analysing generator and excitation system and power generation plant faults using data analysis techniques and tools applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices communicating with personnel completing documentation using recording procedures controlling and coordinating power generation of electrical energy coordinating power generation control coordinating operation of equipment to maintain power generation plant integrity and continuity of supply, including: clarifying power generation plant status determining relevant corrective actions maintaining power generator unit integrity recognising abnormal plant operating conditions implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals interpreting remote indication of power generation plant status and condition monitoring generator and excitation system and power generation plant operating generator and excitation system planning for one operator isolated power generation plant operations.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

analysis of system faults arrangements of power production plant coordination of power generation, including one operator isolated power generation plant operations generator excitation and cooling systems, types and characteristics identification of power generation plant status manuals operation of generator and excitation system regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements power generation plant and equipment, location and operating parameters power generation plant process control systems, system components and interactions WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8