# UEPOPS031 Coordinate response to critical incidents

Release: 1

UEPOPS031 Coordinate response to critical incidents

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to respond to incidents of a critical nature that may impact on the operations of power generation plant or its’ system, endanger human life or property or have an adverse impact on the environment. A critical incident refers to an event that may result in a high level of risk, directly or indirectly, to the core operations of a power generation facility. The level of risk is determined using the facility’s risk management processes as outlined in the Risk Management System. Competency in this unit requires the ability to identify critical incident and consequences, establish contingency plan, establish communications, coordinate response to a critical incident and the documentation of the incident and response. Individuals will, in general, work as an operator with responsibility for coordinating critical incident responses and risk management, in a power generation facility. Power generation plant operators are trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEPOPS130 Respond to a critical incident

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify critical incident and consequences | 1.1 | Critical incidents and implications are identified and evaluated in accordance with workplace procedures |
|  |  | 1.2 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.3 | Secondary threats are identified and monitored in accordance with workplace procedures |
|  |  | 1.4 | Data is evaluated to determine probable causes, consequences and potential responses in accordance with workplace procedures |
| 2 | Establish contingency plan | 2.1 | Contingency and emergency response plans are identified, in accordance with workplace procedures |
|  |  | 2.2 | Additional resources are identified in accordance with workplace procedures |
|  |  | 2.3 | Alternate contingency plan strategies to cater for crisis variations are developed, in consultation with team members and in accordance with workplace procedures |
| 3 | Establish communications | 3.1 | Communication links with external authorities for coordination of resources are established in accordance with workplace procedures |
|  |  | 3.2 | Communication with key stakeholders is established to disseminate information in accordance with workplace procedures |
|  |  | 3.3 | Team roles, both internal and external, are identified and conveyed to personnel in accordance with workplace procedures |
| 4 | Coordinate response to critical incident | 4.1 | Response is coordinated with allowance made for personnel and equipment limitations in accordance with workplace procedures |
|  |  | 4.2 | Events and responses are prioritised with consideration given to the needs of stakeholders in accordance with workplace procedures |
|  |  | 4.3 | Impact of secondary threats are identified and assessed in accordance with workplace procedures |
|  |  | 4.4 | Contingency plan is actioned in accordance with workplace procedures |
|  |  | 4.5 | Additional resources are coordinated and directed in accordance with workplace procedures |
|  |  | 4.6 | Critical incident power generation restoration strategies are monitored, evaluated and adjusted in accordance with workplace procedures |
| 5 | Document incident and response | 5.1 | Critical incident equipment failure or problems are recorded and processed in accordance with workplace procedures |
|  |  | 5.2 | Feedback from stakeholders and personnel debriefing comments are recorded and analysed in accordance with workplace procedures |
|  |  | 5.3 | Critical incident reports and findings are generated and distributed to relevant personnel in accordance with workplace procedures |
|  |  | 5.4 | Improvements to critical incident procedures are recommended to relevant personnel in accordance with workplace procedures |
|  |  | 5.5 | Alternative contingency strategies are identified, analysed and recommendations are communicated to relevant personnel in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS454 Coordinate response to critical incidents.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPOPS031 Coordinate response to critical incidents

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices communicating with external and internal stakeholders conducting debriefings and reviewing stakeholder feedback coordinating critical incident situations coordinating personnel determining communications documenting critical incident and response using recording procedures establishing contingency and emergency response plans identifying critical incidents and consequences implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals organising and coordinating response to critical incidents using policies and procedures for critical incidents utilising data analysis techniques and tools when assessing critical incident risks and responses working with contingency plans.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

communication during critical incidents contingency and emergency response plans coordination of critical incident situations data analysis techniques and tools debriefings and stakeholder feedback methods regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements role of external authorities WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8