# Assessment Requirements for UEPOPS032 Coordinate team activities

Release: 1

Assessment Requirements for UEPOPS032 Coordinate team activities

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures risk control measures safe working practices communicating with team conducting team meetings coordinating teamwork developing work plans implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements instigating team goals maximising and utilising team potential through interpersonal techniques and skills monitoring team activities and resolving team member differences preparing for teamwork promoting team unity and providing team support.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

communication techniques and procedures coordination of work teams dispute resolution procedures interpersonal techniques and skills management of team meetings regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements team member competency and skill identification techniques for team goal setting WHS/OHS requirements, including: emergency procedures risk control measures safe working practices work plans workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8