# UEPOPS033 Coordinate the use of contingency plans

Release: 1

UEPOPS033 Coordinate the use of contingency plans

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to coordinate the use of contingency plans that are developed to support the integrity of power generation facilities. A contingency plan is a course of action designed to help a power generation facility respond to a significant event. A contingency plan should include any event that might disrupt power generation facility operations. Competency in this unit requires the ability to identify contingencies, identify preferred contingency plans and complete all documentation. Individuals will, in general, work as coordinator in risk management, in a power generation facility. Power generation plant operators are trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

UEPOPS040 Facilitate the use of contingency plans

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify potential risks | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.2 | Impact of risks are assessed and evaluated for impact in accordance with risk management system and workplace procedures |
|  |  | 1.3 | Risks are arranged using a risk management matrix in order of priority and impact in accordance with workplace procedures |
| 2 | Coordinate preferred contingency plan | 2.1 | Processes for each identified risk are developed and coordinated in accordance with contingency plan and workplace procedures |
|  |  | 2.2 | Workplace procedures and risk management strategies are mapped to contingency plan processes in accordance with workplace procedures |
|  |  | 2.3 | Analysis of human, fiscal and resourcing requirements that may impact use of the contingency plan is undertaken in accordance with workplace procedures |
| 3 | Complete documentation | 3.1 | Contingency plan problems and status are reported in accordance with workplace procedures |
|  |  | 3.2 | Contingency plan documentation is updated in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS451 Coordinate the use of contingency plans.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8