# UEPOPS037 Ensure compliance with work health and safety policy and procedures

Release: 1

UEPOPS037 Ensure compliance with work health and safety policy and procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to ensure work health and safety (WHS)/occupational health and safety (OHS) policies and procedures are followed in order to ensure safety in the workplace. WHS/OHS is concerned with protecting the health and safety of all stakeholders in the workplace from exposure to hazards and risks resulting from work activities. It involves the application of WHS/OHS legislation and codes of practice, meeting regulatory obligations, identifying risks, determining strategies for control of risks and responding quickly to incidents. Competency in this unit requires the ability to identify WHS/OHS policies and procedures, contribute to WHS/OHS in the workplace, confirm WHS/OHS compliance and maintain WHS/OHS records. Individuals will, in general, work as an operator in a power generation facility. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

There are no perquisite units

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify WHS policies and procedures | 1.1 | WHS/OHS regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.2 | WHS/OHS procedures for dealing with accidents, fires and emergencies are maintained and updated in accordance with workplace procedures |
|  |  | 1.3 | Information about identified hazards and the outcome of risk assessments and risk control procedures are provided to personnel and stakeholders in accordance with workplace procedures |
| 2 | Contribute to WHS in the workplace | 2.1 | Hazards are identified and reported to designated personnel in accordance with workplace procedures |
|  |  | 2.2 | WHS/OHS issues raised with designated personnel are confirmed in accordance with workplace procedures and WHS/OHS legislation requirements |
| 3 | Confirm WHS compliance | 3.1 | Risk control compliance is monitored in accordance with workplace procedures |
|  |  | 3.2 | Inadequacies in existing risk control measures are identified and reported in accordance with workplace procedures and hierarchy of control |
|  |  | 3.3 | Inadequacies in resource allocation for implementation of risk control measures are identified and reported to designated personnel in accordance with workplace procedures |
|  |  | 3.4 | Work is stopped and safety discussion is conducted where non-compliance is observed |
| 4 | Maintain WHS records | 4.1 | WHS/OHS records are completed in accordance with workplace procedures |
|  |  | 4.2 | WHS/OHS records are monitored for compliance in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS364 Ensure compliance with Work Health and Safety policy and procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8

Assessment Requirements for UEPOPS037 Ensure compliance with work health and safety policy and procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: controlling risks emergency procedures and techniques recognising potential hazards safe working practices communicating effectively with personnel and stakeholders confirming WHS/OHS compliance contributing to WHS/OHS in the workplace identifying WHS/OHS policies and procedures implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements maintaining WHS/OHS records reporting of WHS/OHS issues.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

communication of WHS/OHS requirements regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements reporting obligations for WHS/OHS issues WHS/OHS requirements, including: recognising potential hazards controlling of risks emergency procedures and techniques safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8