# UEPOPS040 Facilitate the use of contingency plans for power generation facilities

Release: 1

UEPOPS040 Facilitate the use of contingency plans for power generation facilities

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to facilitate the use of contingency plans that are developed to support the integrity of power generation facilities. A contingency plan is a course of action designed by a power generation facility to respond to potentially disruptive situations. Competency in this unit requires the ability to identify contingencies, identify preferred contingency plans and complete all documentation. Individuals will, in general, work as an operator with responsibility for contingency planning or risk management, in a power generation facility. Power generation plant operators are trained and authorised to isolate, prepare plant and issue permits to work. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

There are no prerequisite units

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Identify contingencies | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.2 | Impact of risks is assessed and evaluated from the risk management system and discussed with relevant personnel and stakeholders in accordance with workplace procedures |
| 2 | Identify contingency plan processes | 2.1 | Contingency plan processes are identified and applied in accordance with workplace procedures |
|  |  | 2.2 | Roles and responsibilities for the contingency plan are identified in accordance with workplace procedures |
| 3 | Complete documentation | 3.1 | Power generating plant problems, movements and status are reported in accordance with contingency plan and workplace procedures |
|  |  | 3.2 | Documentation is updated in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS370 Facilitate the use of contingency plans for power generation facilities.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8