# Assessment Requirements for UEPOPS042 Implement dam safety surveillance procedures

Release: 1

Assessment Requirements for UEPOPS042 Implement dam safety surveillance procedures

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures hazard identification risk control measures safe working practices collecting, processing and analysing data communicating with personnel completing dam safety surveillance reports using documentation procedures implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements inspecting dams interpreting manuals planning for dam surveillance reading dam drawings, plans and charts undertaking dam safety surveillance using equipment and instruments, including testing and recording equipment.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of hydro power production plant dam design principles dam types and characteristics data collection methods and techniques hydro power plant and equipment, location and operating parameters manuals regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements required responses to dam surveillance findings surveillance of dams testing and recording equipment WHS/OHS requirements, including: emergency procedures hazard identification risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8