# Assessment Requirements for UEPOPS046 Maintain battery banks and cells

Release: 1

Assessment Requirements for UEPOPS046 Maintain battery banks and cells

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying maintenance techniques to repair faults applying work health and safety (WHS)/occupational health and safety (OHS) regulations, including: emergency procedures risk control measures safe working procedures communicating with personnel complying regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting drawings and manuals maintaining battery cell and/or bank equipment reporting findings selecting equipment and material testing battery cell or bank using diagnostic and data analysis techniques using safety data sheets (SDS) using testing and measurement instruments to identify faults and abnormalities utilising permit to work system working with isolation procedures.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

battery cell and/or bank testing and maintenance procedures battery plant operation drawings and manuals isolations maintenance techniques permit to work system regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements safety and hazard precautions SDS testing and fault-finding techniques workplace documentation WHS/OHS requirements, including: applying isolation procedures emergency procedures risk control measures safe working procedures workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8