# Assessment Requirements for UEPOPS051 Manage first response team

Release: 1

Assessment Requirements for UEPOPS051 Manage first response team

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including:p emergency procedures risk control measures safe working practices communicating with the personnel and other organisations and agencies following an emergency employing risk management system identifying hazards identifying potential hazards implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements managing first response team’s emergency plant and equipment for operation managing team’s response to an emergency using emergency procedures and techniques planning and managing operation of first response team reporting outcomes of emergency response utilising emergency response plans

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant communication techniques, including stakeholder management emergency response plans equipment relevant to emergency tasks, including operation and maintenance management procedures of first response team in an emergency potential hazards power generation plant and equipment, location and operating parameters power generation plant status regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements risk management systems roles and responsibilities of emergency services roles of first response team members WHS/OHS requirements, including: emergency procedures risk control measures safe working practices workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8