# Assessment Requirements for UEPOPS053 Manage operational crisis to maintain or restore power system integrity

Release: 1

Assessment Requirements for UEPOPS053 Manage operational crisis to maintain or restore power system integrity

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria on at least two separate occasions and include:

applying work health and safety (WHS)/occupational health and safety (OHS) requirements, including: emergency procedures and techniques safe working practices site safety procedures communicating with personnel during a crisis event controlling crisis emergency situations detecting plant status, including interpreting remote indication of plant status and condition determining corrective actions using data analysis techniques and tools documenting and reviewing crisis events and responses identifying crisis events implementing regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements interpreting manuals instigating contingency and emergency response plans managing crisis, including oversight of personnel recognising abnormal plant operating conditions using diagnostic techniques responding to stakeholder feedback utilising communication techniques and methods, including recording procedures working with and managing the risk management system.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all the requirements of the elements and performance criteria and include knowledge of:

arrangements of power production plant communication equipment, techniques and procedures contingency and emergency response plans control techniques and methods for crisis events manuals power generation plant and equipment, location and operating parameters power generation plant status regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, and environmental requirements risk management systems risk mitigation processes role of external authorities and agencies stakeholder liaison and feedback stakeholder management techniques, including liaising with contractors and clients types of crises events WHS/OHS requirements, including emergency procedures and techniques safe working practices site safety procedures workplace documentation workplace policies and procedures.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment and personal protective equipment (PPE) currently used in industry applicable documentation, including workplace procedures, equipment specifications, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8