# UEPOPS062 Monitor and maintain civil assets

Release: 1

UEPOPS062 Monitor and maintain civil assets

# Modification History

Release 1. This is the first release of this unit of competency in the UEP Electricity Supply Industry - Generation Sector Training Package Release 2.0.

# Application

This unit involves the skills and knowledge required to monitor and conduct maintenance to ensure the integrity of power generation civil assets. Civil asset maintenance strategies are used to preserve and extend the service life of infrastructure. Civil assets may include infrastructure such as water treatment facilities, sewer pipelines, roads, utility grids, bridges, tunnels and railways. Competency in this unit requires the ability to plan work, monitor civil assets, maintain civil assets and complete all work. Individuals will, in general, work as an operator, in a power generation facility. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

There are no prerequisite units

# Competency Field

Operations

# Unit Sector

Electricity generation

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Plan and prepare for work | 1.1 | Work health and safety (WHS)/occupational health and safety (OHS) regulations, legislative requirements, codes of practice, manufacturers’ recommendations and specifications, environmental requirements and workplace procedures are identified, applied and monitored |
|  |  | 1.2 | Work requirements are identified from relevant personnel and documentation in accordance with workplace procedures |
|  |  | 1.3 | Resources are obtained and inspected for compliance in accordance with workplace procedures |
|  |  | 1.4 | Potential hazards are identified, and risk control measures are selected and implemented in accordance with workplace procedures |
|  |  | 1.5 | Work is sequenced and prioritised in accordance with workplace procedures |
| 2 | Monitor civil assets | 2.1 | Monitoring frequency of civil assets is determined in accordance with workplace procedures |
|  |  | 2.2 | Check list for civil asset monitoring is maintained in accordance with workplace procedures |
|  |  | 2.3 | Abnormal events or conditions are reported to relevant personnel in accordance with workplace procedures |
| 3 | Maintain civil assets | 3.1 | Maintenance of civil assets is undertaken in accordance with workplace procedures |
|  |  | 3.2 | Relevant tools, equipment and plant required to maintain civil assets are utilised in accordance with manufacturers’ specifications and workplace procedures |
| 4 | Complete work | 4.1 | Maintenance work is completed and relevant personnel notified in accordance with workplace procedures |
|  |  | 4.2 | Work area is cleared of waste, cleaned, restored and secured in accordance with workplace procedures |
|  |  | 4.3 | Civil asset maintenance tools and equipment are maintained and stored in accordance with manufacturers’ recommendations and specifications, and workplace procedures |
|  |  | 4.4 | Work completion details are finalised in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the UEP Electricity Supply Industry - Generation Sector Training Package Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to UEPOPS327 Monitor and maintain civil assets.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=1715b9fa-e7bd-441c-bb8d-cf22c9c825a8